TES

Figura 1. 3D isometric view

Figura 2. Isometry with dimensions

Figura 3. Node numbering view

Figura 4. Beam numbering view

Figura 5. Profiles

Figura 6. Numbering of continuous physical members

Physical Member Table

| Numbering |  |
| --- | --- |
| Physical Member | Analytical Elements |
| 1 | 1, 2, 3, 633, 4, 5, 6, 7, 8, 9, 10, 634, 11, 12 |
| 2 | 56, 57, 58, 59, 60, 61, 62, 63, 64, 65, 66, 67 |
| 3 | 111, 112, 113, 114, 115, 116, 117, 118, 119, 120, 121, 122 |
| 4 | 166, 167, 168, 169, 170, 171, 172, 173, 174, 175, 176, 177 |
| 5 | 221, 222, 223, 224, 225, 226, 227, 228, 229, 230, 231, 232 |
| 6 | 276, 277, 278, 279, 280, 281, 282, 283, 284, 285, 286, 287 |
| 7 | 331, 332, 333, 334, 335, 336, 337, 338, 339, 340, 341, 342 |
| 8 | 516, 517, 518, 519, 520, 521, 522, 523, 524, 525, 526, 527 |
| 9 | 621, 622, 623 |
| 10 | 624, 625, 626 |
| 11 | 627, 628, 629 |
| 12 | 630, 631, 632 |
| 13 | 48, 49, 50, 51, 502 |
| 14 | 103, 104, 105, 106, 504 |
| 15 | 158, 159, 160, 161, 506 |
| 16 | 213, 214, 215, 216, 505 |
| 17 | 268, 269, 270, 271, 508 |
| 18 | 323, 324, 325, 326, 507 |
| 19 | 378, 379, 380, 381, 503 |
| 20 | 563, 564, 565, 566, 599 |
| 21 | 52, 53, 54, 55, 512 |
| 22 | 107, 108, 109, 110, 511 |
| 23 | 162, 163, 164, 165, 513 |
| 24 | 217, 218, 219, 220, 514 |
| 25 | 272, 273, 274, 275, 515 |
| 26 | 327, 328, 329, 330, 509 |
| 27 | 382, 383, 384, 385, 510 |
| 28 | 567, 568, 569, 570, 600 |
| 29 | 13, 14, 15, 16, 17, 18 |
| 30 | 19, 20, 21, 22, 23, 24 |
| 31 | 68, 69, 70, 71, 72, 73 |
| 32 | 74, 75, 76, 77, 78, 79 |
| 33 | 123, 124, 125, 126, 127, 128 |
| 34 | 129, 130, 131, 132, 133, 134 |
| 35 | 178, 179, 180, 181, 182, 183 |
| 36 | 184, 185, 186, 187, 188, 189 |
| 37 | 233, 234, 235, 236, 237, 238 |
| 38 | 239, 240, 241, 242, 243, 244 |
| 39 | 288, 289, 290, 291, 292, 293 |
| 40 | 294, 295, 296, 297, 298, 299 |
| 41 | 343, 344, 345, 346, 347, 348 |
| 42 | 349, 350, 351, 352, 353, 354 |
| 43 | 528, 529, 530, 531, 532, 533 |
| 44 | 534, 535, 536, 537, 538, 539 |
| 45 | 386, 387 |
| 46 | 391, 604 |
| 47 | 395, 396 |
| 48 | 400, 602 |
| 49 | 404, 405 |
| 50 | 409, 603 |
| 51 | 431, 432 |
| 52 | 436, 601 |
| 53 | 440, 441 |
| 54 | 445, 605 |
| 55 | 449, 450 |
| 56 | 454, 606 |
| 57 | 571, 572 |
| 58 | 573, 574 |
| 59 | 575, 576 |
| 60 | 583, 584 |
| 61 | 585, 586 |
| 62 | 587, 588 |
| 63 | 635, 636 |
| 64 | 637, 638 |
| 65 | 645, 646 |
| 66 | 647, 648 |

Table of material properties

| Property | STEEL_50_KSI |
| --- | --- |
| Módulo de Young "E" (kN/m²) | 199947008 |
| Coeficiente de Poisson "v" | 0.3000000111111111 |
| Densidad "Y" (kN/m³) | 76.81909555555555 |
| Coeficiente Térmico "a"(/°C) | 6.499999666666666e-06 |
| Amortiguamiento Crítico | 0.02999999888888888 |
| Módulo de Corte "G" (kN/m²) | 77220996.66666666 |
| Límite Elástico "Fy" (kN/m²) | 344736 |
| Resistencia a la Tracción "Fu" (kN/m²) | 427473 |
| Relación de Resistencia a la Cedencia "Ry" | 1.5 |
| Relación de Resistencia a la Tracción "Rt" | 1.2 |
| Resistencia a la Compresión Fcu (kN/m²) | 0 |

Table of supports assigned to the structure

| Reference | Support | Node |
| --- | --- | --- |
| S2 | Soporte impuesto con liberaciones | 1 |
| S2 | Soporte impuesto con liberaciones | 2 |
| S2 | Soporte impuesto con liberaciones | 3 |
| S2 | Soporte impuesto con liberaciones | 4 |
| S2 | Soporte impuesto con liberaciones | 5 |
| S2 | Soporte impuesto con liberaciones | 6 |
| S2 | Soporte impuesto con liberaciones | 7 |
| S2 | Soporte impuesto con liberaciones | 8 |
| S2 | Soporte impuesto con liberaciones | 74 |
| S2 | Soporte impuesto con liberaciones | 77 |

According to the project design criteria, the primary loads used in the analysis are detailed below They are not included in this report.

Primary load table

| Case | Type | Description |
| --- | --- | --- |
| 1 | DEAD | PESO PROPIO (D) |
| 2 | DEAD | PESO T.OPERACION (OP) |
| 3 | DEAD | PESO CARGA PRUEBA HIDROSTATICA (H) |
| 4 | LIVE | CARGA VIVA |
| 5 | CARGA | TERMICA ESTRUCTURA (TST) |
| 6 | FUERZAS | DE FRICCION TUBERIAS (TT) |
| 7 | FUERZAS | DE ANCLAJE TUBERIAS (TS) |
| 8 | VIENTO | DIRECCION X |
| 9 | VIENTO | DIRECCION -X |
| 10 | VIENTO | DIRECCION Z |
| 11 | VIENTO | DIRECCION -Z |
| 12 | SISMO | DIR X |
| 13 | SISMO | DIR Z |
| 14 | SISMO | DIR Y (VERTICAL) |

Below are the design spectra in each direction, defined according to the type of structural system and the previously indicated values of Ω0, Cd, and R.

Figure 7. Modified design spectrum in X direction

Figure 8. Modified design spectrum in Z direction

Wind Load Definitions

| Type | Title | Intensity | Height |
| --- | --- | --- | --- |
|  |  | (N/mm2) | (m) |
| 1 | WIND 1 | 0.003 | 0 |
|  |  | 0.003 | 4.6 |
|  |  | 0.003 | 6.1 |
|  |  | 0.003 | 7.6 |
|  |  | 0.003 | 9.1 |
|  |  | 0.003 | 12 |

SelfWeights

| L/C | Direction | Factor | Assigned Geometry |
| --- | --- | --- | --- |
| R1 | X | 1.1 | ALL |
|  | Z | 1.1 | ALL |
| 1 | Y | -1.1 | ALL |

Beam Loads

| L/C | Beam | Type | Direction | Fa | Da | Fb | Db | Ecc. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | (m) |  | (m) | (m) |
| R1 | 445 | CON (kN) | GX | 22.56 | 0.6 | 0 | 0 | 0 |
|  | 445 | CON (kN) | GZ | 22.56 | 0.6 | 0 | 0 | 0 |
| 2 | 445 | CON (kN) | GY | -22.56 | 0.6 | 0 | 0 | 0 |

Temperature Loads

| L/C | Beam | Type | Axial | Cross | Side | Elongation | Strain Rate |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | (°C) | (°C) | (°C) | (m) |  |
| 5 | 274 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 275 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 276 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 277 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 278 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 279 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 280 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 281 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 282 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 283 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 284 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 285 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 286 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 287 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 288 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 289 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 290 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 292 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 293 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 294 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 295 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 296 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 297 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 298 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 299 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 300 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 301 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 302 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 303 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 304 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 305 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 306 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 307 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 308 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 309 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 310 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 311 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 312 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 315 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 316 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 317 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 318 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 319 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 320 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 324 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 325 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 326 | TEMP | 27.7 | 0 | 0 | 0 | 0 |
|  | 327 | TEMP | 27.7 | 0 | 0 | 0 | 0 |

One-Way Floor Loads

| L/C | Direction | Load | Min X | Max X | Min Y | Max Y | Min Z | Max Z |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | (N/mm2) | (m) | (m) | (m) | (m) | (m) | (m) |
| R1 | GX | 0.002 | 0 | 0 | 0 | 0 | 0 | 0 |
|  | GZ | 0.002 | 0 | 0 | 0 | 0 | 0 | 0 |
|  | GX | 0.002 | 0 | 0 | 0 | 0 | 0 | 0 |
|  | GX | 0.002 | 0 | 0 | 0 | 0 | 0 | 0 |
|  | GX | 0.002 | 0 | 0 | 0 | 0 | 0 | 0 |
|  | GX | 0.002 | 0 | 0 | 0 | 0 | 0 | 0 |
|  | GZ | 0.002 | 0 | 0 | 0 | 0 | 0 | 0 |
|  | GZ | 0.002 | 0 | 0 | 0 | 0 | 0 | 0 |
|  | GZ | 0.002 | 0 | 0 | 0 | 0 | 0 | 0 |
|  | GZ | 0.002 | 0 | 0 | 0 | 0 | 0 | 0 |
| 1 | GY | -0.002 | 0 | 0 | 0 | 0 | 0 | 0 |
|  | GY | -0.002 | 0 | 0 | 0 | 0 | 0 | 0 |
|  | GY | -0.002 | 0 | 0 | 0 | 0 | 0 | 0 |
|  | GY | -0.002 | 0 | 0 | 0 | 0 | 0 | 0 |
|  | GY | -0.002 | 0 | 0 | 0 | 0 | 0 | 0 |
| 4 | GY | -0.004 | 0 | 0 | 0 | 0 | 0 | 0 |
|  | GY | -0.004 | 0 | 0 | 0 | 0 | 0 | 0 |
|  | GY | -0.004 | 0 | 0 | 0 | 0 | 0 | 0 |
|  | GY | -0.004 | 0 | 0 | 0 | 0 | 0 | 0 |
|  | GY | -0.004 | 0 | 0 | 0 | 0 | 0 | 0 |

Response Spectrum Loads

| L/C | Parameter | Value |
| --- | --- | --- |
| 12 | Code | Custom |
|  | Modal Combination | CQC |
|  | X | 1.000 |
|  | Scale | 9.810 |
|  | Damping | 0.050 |
| 13 | Code | Custom |
|  | Modal Combination | CQC |
|  | Z | 1.000 |
|  | Scale | 9.810 |
|  | Damping | 0.050 |

According to the design criteria, the load combinations to be used in the analysis of the structure are the following:

Load combination table for serviceability limit state

| N° | Combinación de Carga |
| --- | --- |
| 200 |  |
| 201 | D+OP |
| 202 | D+OP+L |
| 203 | D+OP+TST+TT+TS |
| 204 | D+OP+0.75(L+TST+TS+TT) |
| 205 | D+OP+0.6WX |
| 206 | D+OP-0.6WX |
| 207 | D+OP+0.6WZ |
| 208 | D+OP-0.6WZ |
| 209 | D+OP+0.75L+0.45WX |
| 210 | D+OP+0.75L-0.45WX |
| 211 | D+OP+0.75L+0.45WZ |
| 212 | D+OP+0.75L-0.45WZ |
| 213 | D+OP+TST+TS+0.6WX |
| 214 | D+OP+TST+TS-0.6WX |
| 215 | D+OP+TST+TS+0.6WZ) |
| 216 | D+OP+TS+TST+TS-0.6WZ |
| 217 | D+OP+0.75L+TST+TS+0.45WX |
| 218 | D+OP+0.75L+TST+TS-0.45WX |
| 219 | D+OP+0.75L+TST+TS+0.45WZ |
| 220 | D+OP+TS+0.75L+TST+TS-0.45WZ |
| 221 | 0.6(D+OP)+0.6(TST+TS)+0.6WX |
| 222 | 0.6(D+OP)+0.6(TST+TS)-0.6WX |
| 223 | 0.6(D+OP)+0.6(TST+TS)+0.6WZ |
| 224 | 0.6(D+OP)+0.6(TST+TS)-0.6WZ |
| 225 | D+F |
| 226 | D+F+0.50L |
| 227 | D+F+0.33(+WX) |
| 228 | D+F-0.33(+WX) |
| 229 | D+F+0.33(-WX) |
| 230 | D+F-0.33(-WX) |
| 231 | D+F+0.33(+WZ) |
| 232 | D+F-0.33(+WZ) |
| 233 | D+F+0.33(-WZ) |
| 234 | D+F-0.33(-WZ) |
| 235 | D+OP+0.70*RHO(EX+0.30EZ)+0.7EV |
| 236 | D+OP+0.70*RHO(EX-0.30EZ)+0.7EV |
| 237 | D+OP+0.70*RHO(-EX+0.30EZ)+0.7EV |
| 238 | D+OP+0.70*RHO(-EX-0.30EZ)+0.7EV |
| 239 | D+OP+0.70*RHO(EX+0.30EZ)-0.7EV |
| 240 | D+OP+0.70*RHO(EX-0.30EZ)-0.7EV |
| 241 | D+OP+0.70*RHO(-EX+0.30EZ)-0.7EV |
| 242 | D+OP+0.70*RHO(-EX-0.30EZ)-0.7EV |
| 243 | D+OP+0.70*RHO(0.30EX+EZ)+0.7EV |
| 244 | D+OP+0.70*RHO(0.30EX-EZ)+0.7EV |
| 245 | D+OP+0.70*RHO(-0.30EX+EZ)+0.7EV |
| 246 | D+OP+0.70*RHO(-0.30EX-EZ)+0.7EV |
| 247 | D+OP+0.70*RHO(0.30EX+EZ)-0.7EV |
| 248 | D+OP+0.70*RHO(0.30EX-EZ)-0.7EV |
| 249 | D+OP+0.70*RHO(-0.30EX+EZ)-0.7EV |
| 250 | D+OP+0.70*RHO(-0.30EX-EZ)-0.7EV |
| 251 | D+OP+0.75L+0.525*RHO(EX+0.30EZ)+0.525EV |
| 252 | D+OP+0.75L+0.525*RHO(EX-0.30EZ)+0.525EV |
| 253 | D+OP+0.75L+0.525*RHO(-EX+0.30EZ)+0.525EV |
| 254 | D+OP+0.75L+0.525*RHO(-EX-0.30EZ)+0.525EV |
| 255 | D+OP+0.75L+0.525*RHO(EX+0.30EZ)-EV |
| 256 | D+OP+0.75L+0.525*RHO(EX-0.30EZ)-0.525EV |
| 257 | D+OP+0.75L+0.525*RHO(-EX+0.30EZ)-0.525EV |
| 258 | D+OP+0.75L+0.525*RHO(-EX-0.30EZ)-0.525EV |
| 259 | D+OP+0.75L+0.525*RHO(0.30EX+EZ)+0.525EV |
| 260 | D+OP+0.75L+0.525*RHO(0.30EX-EZ)+0.525EV |
| 261 | D+OP+0.75L+0.525*RHO(-0.30EX+EZ)+0.525EV |
| 262 | D+OP+0.75L+0.525*RHO(-0.30EX-EZ)+0.525EV |
| 263 | D+OP+0.75L+0.525*RHO(0.30EX+EZ-0.525EV |
| 264 | D+OP+0.75L+0.525*RHO(0.30EX-EZ)-0.525EV |
| 265 | D+OP+0.75L+0.525*RHO(-0.30EX+EZ)-0.525EV |
| 266 | D+OP+0.75L+0.525*RHO(-0.30EX-EZ)-0.525EV |
| 267 | D+OP+TST+TS+0.525*RHO(EX+0.30EZ)+0.525EV |
| 268 | D+OP+TST+TS+0.525*RHO(EX-0.30EZ)+0.525EV |
| 269 | D+OP+TST+TS+0.525*RHO(-EX+0.30EZ)+0.525EV) |
| 270 | D+OP+TST+TS+0.525*RHO(-EX-0.30EZ)+0.525EV |
| 271 | D+OP+TST+TS+0.525*RHO(0.30EX+EZ)+0.525EV |
| 272 | D+OP+TST+TS+0.525*RHO(0.30EX-EZ)+0.525EV |
| 273 | D+OP+TST+TS+0.525*RHO(-0.30EX+EZ)+0.525EV |
| 274 | D+OP+TST+TS+0.525*RHO(-0.30EX-EZ)+0.525EV |
| 275 | D+OP+TST+TS+0.525*RHO(EX+0.30EZ)-0.525EV |
| 276 | D+OP+TST+TS+0.525*RHO(EX-0.30EZ)-0.525EV |
| 277 | D+OP+TST+TS+0.525*RHO(-EX+0.30EZ)-0.525EV |
| 278 | D+OP+TST+TS+0.525*RHO(-EX-0.30EZ)-0.525EV |
| 279 | D+OP+TST+TS+0.52*RHO(0.30EX+EZ)-0.525EV |
| 280 | D+OP+TST+TS+0.525*RHO(0.30EX-EZ)-0.525EV |
| 281 | D+OP+TST+TS+0.525+RHO(-0.30EX+EZ)-0.525EV |
| 282 | D+OP+TST+TS+0.525*RHO(-0.30EX-EZ)-0.525EV |
| 283 | D+OP+0.75L+TST+TS+0.70*RHO(EX+0.30EZ)+0.7EV |
| 284 | D+OP+0.75L+TST+TS+0.70*RHO(EX-0.30EZ)+0.7EV |
| 285 | D+OP+0.75L+TST+TS+0.70*RHO(-EX+0.30EZ)+0.7EV |
| 286 | D+OP+0.75L+TST+TS+0.70*RHO(-EX-0.30EZ)+0.7EV |
| 287 | D+OP+0.75L+TST+TS+0.70*RHO(0.30EX+EZ)+0.7EV |
| 288 | D+OP+0.75L+TST+TS+0.70*RHO(0.30EX-EZ)+0.7EV |
| 289 | D+OP+0.75L+TST+TS+0.70*RHO(-0.30EX+EZ)+0.7EV |
| 290 | D+OP+0.75L+TST+TS+0.70*RHO(-0.30EX-EZ)+0.7EV |
| 291 | D+OP+0.75L+TST+TS+0.70*RHO(EX+0.30EZ)-0.7EV |
| 292 | D+OP+0.75L+TST+TS+0.70*RHO(EX-0.30EZ)-0.7EV |
| 293 | D+OP+0.75L+TST+TS+0.70*RHO(-EX+0.30E)Z-0.7EV |
| 294 | D+OP+0.75L+TST+TS+0.70*RHO(-EX-0.30EZ)-0.7EV |
| 295 | D+OP+0.75L+TST+TS+0.70*RHO(0.30EX+EZ)-0.7EV |
| 296 | D+OP+0.75L+TST+TS+0.70*RHO(0.30EX-EZ)-0.7EV |
| 297 | D+OP+0.75L+TST+TS+0.70*RHO(-0.30EX+EZ)-0.7EV |
| 298 | D+OP+0.75L+TST+TS+0.70*RHO(-0.30EX-EZ)-0.7EV |
| 299 | 0.60(D+OP)+0.6(TST+TS)+0.70*RHO(EX+0.30EZ)+0.7EV |
| 300 | 0.60(D+OP)+0.6(TST+TS)+0.70*RHO(EX-0.30EZ)+0.7EV |
| 301 | 0.60(D+OP)+0.6(TST+TS)+0.70*RHO(-EX+0.30EZ)+0.7EV |
| 302 | 0.60(D+OP)+0.6(TST+TS)+0.70*RHO(-EX-0.30EZ)+0.7EV |
| 303 | 0.60(D+OP)+0.6(TST+TS)+0.70*RHO(0.30EX+EZ)0.7+EV |
| 304 | 0.60(D+OP)+0.6(TST+TS)+0.70*RHO(0.30EX-EZ)+0.7EV |

Load combination table for ultimate limit state

| N° | Combinación de Carga |
| --- | --- |
| 1201 | 1.4(D+OP) |
| 1202 | 1.4(D+OP)+1.4(TST+TT+TS) |
| 1203 | 1.2(D+OP)+1.6L |
| 1204 | 1.2(D+OP)+1.6L+1.2(TST+TT+TS) |
| 1205 | 1.2(D+OP)+L+1.2(TST+TT+TS) |
| 1206 | 1.2(D+OP)+0.5WX |
| 1207 | 1.2(D+OP)-0.5WX |
| 1208 | 1.2(D+OP)+0.5WZ |
| 1209 | 1.2(D+OP)-0.5WZ |
| 1210 | 1.2(D+OP)+L+WX |
| 1211 | 1.2(D+OP)+L-WX |
| 1212 | 1.2(D+OP)+L+WZ |
| 1213 | 1.2(D+OP)+L-WZ |
| 1214 | 0.9(D+OP)+WX |
| 1215 | 0.9(D+OP)-WX |
| 1216 | 0.9(D+OP)+WZ |
| 1217 | 0.9(D+OP)-WZ |
| 1218 | 1.2(D+OP)+1.2(TST+TS)+0.5WX |
| 1219 | 1.2(D+OP)+1.2(TST+TS)-0.5WX |
| 1220 | 1.2(D+OP)+1.2(TST+TS)+0.5WZ |
| 1221 | 1.2(D+OP)+1.2(TST+TS)-0.5WZ |
| 1222 | 1.2(D+OP)+L+1.2(TST+TS)+WX |
| 1223 | 1.2(D+OP)+L+1.2(TST+TS)-WX |
| 1224 | 1.2(D+OP)+L+1.2(TST+TS)+WZ |
| 1225 | 1.2(D+OP)+L+1.2(TST+TS)-WZ |
| 1226 | 0.9(D+OP)+TST+TS+WX |
| 1227 | 0.9(D+OP)+TST+TS-WX |
| 1228 | 0.9(D+OP)+TST+TS+WZ |
| 1229 | 0.9(D+OP)+TST+TS-WZ |
| 1230 | 1.4(D+F) |
| 1231 | 1.2(D+F)+0.50*1.6L |
| 1232 | 1.2(D+F)+0.43(+WX) |
| 1233 | 1.2(D+F)-0.43(+WX) |
| 1234 | 1.2(D+F)+0.43(-WX) |
| 1235 | 1.2(D+F)-0.43(-WX) |
| 1236 | 1.2(D+F)+0.43(+WZ) |
| 1237 | 1.2(D+F)-0.43(+WZ) |
| 1238 | 1.2(D+F)+0.43(-WZ) |
| 1239 | 1.2(D+F)-0.43(-WZ) |
| 1240 | 1.2(D+OP)+L+RHO(EX+0.30EZ)+EV |
| 1241 | 1.2(D+OP)+L+RHO(EX-0.30EZ)+EV |
| 1242 | 1.2(D+OP)+L+RHO(-EX+0.30EZ)+EV |
| 1243 | 1.2(D+OP)+L+RHO(-EX-0.30EZ)+EV |
| 1244 | 1.2(D+OP)+L+RHO(EX+0.30EZ)-EV |
| 1245 | 1.2(D+OP)+L+RHO(EX-0.30EZ)-EV |
| 1246 | 1.2(D+OP)+L+RHO(-EX+0.30EZ)-EV |
| 1247 | 1.2(D+OP)+L+RHO(-EX-0.30EZ)-EV |
| 1248 | 1.2(D+OP)+L+RHO(0.30EX+EZ)+EV |
| 1249 | 1.2(D+OP)+L+RHO(0.30EX-EZ)+EV |
| 1250 | 1.2(D+OP)+L+RHO(-0.30EX+EZ)+EV |
| 1251 | 1.2(D+OP)+L+RHO(-0.30EX-EZ)+EV |
| 1252 | 1.2(D+OP)+L+RHO(0.30EX+EZ)-EV |
| 1253 | 1.2(D+OP)+L+RHO(0.30EX-EZ)-EV |
| 1254 | 1.2(D+OP)+L+RHO(-0.30EX+EZ)-EV |
| 1255 | 1.2(D+OP)+L+RHO(-0.30EX-EZ)-EV |
| 1256 | 1.2(D+OP)+L+1.2(TST+TS)+RHO(EX+0.30EZ)+EV |
| 1257 | 1.2(D+OP)+L+1.2(TST+TS)+RHO(EX-0.30EZ)+EV |
| 1258 | 1.2(D+OP)+L+1.2(TST+TS)+RHO(-EX+0.30EZ)+EV |
| 1259 | 1.2(D+OP)+L+1.2(TST+TS)+RHO(-EX-0.30EZ)+EV |
| 1260 | 1.2(D+OP)+L+1.2(TST+TS)+RHO(EX+0.30EZ)-EV |
| 1261 | 1.2(D+OP)+L+1.2(TST+TS)+RHO(EX-0.30EZ)-EV |
| 1262 | 1.2(D+OP)+L+1.2(TST+TS)+RHO(-EX+0.30EZ)-EV |
| 1263 | 1.2(D+OP)+L+1.2(TST+TS)+RHO(-EX-0.30EZ)-EV |
| 1264 | 1.2(D+OP)+L+1.2(TST+TS)+RHO(0.30EX+EZ)+EV |
| 1265 | 1.2(D+OP)+L+1.2(TST+TS)+RHO(0.30EX-EZ)+EV |
| 1266 | 1.2(D+OP)+L+1.2(TST+TS)+RHO(-0.30EX+EZ)+EV |
| 1267 | 1.2(D+OP)+L+1.2(TST+TS)+RHO(-0.30EX-EZ)+EV |
| 1268 | 1.2(D+OP)+L+1.2(TST+TS)+RHO(0.30EX+EZ)-EV |
| 1269 | 1.2(D+OP)+L+1.2(TST+TS)+RHO(0.30EX-EZ)-EV |
| 1270 | 1.2(D+OP)+L+1.2(TST+TS)+RHO(-0.30EX+EZ)-EV |
| 1271 | 1.2(D+OP)+L+1.2(TST+TS)+RHO(-0.30EX-EZ)-EV |
| 1272 | 0.9(D+OP)+RHO(EX+0.30EZ)+EV |
| 1273 | 0.9(D+OP)+RHO(EX-0.30EZ)+EV |
| 1274 | 0.9(D+OP)+RHO(-EX+0.30EZ)+EV |
| 1275 | 0.9(D+OP)+RHO(-EX-0.30EZ)+EV |
| 1276 | 0.9(D+OP)+RHO(EX+0.30EZ)-EV |
| 1277 | 0.9(D+OP)+RHO(EX-0.30EZ)-EV |
| 1278 | 0.9(D+OP)+RHO(-EX+0.30EZ)-EV |
| 1279 | 0.9(D+OP)+RHO(-EX-0.30EZ)-EV |
| 1280 | 0.9(D+OP)+RHO(0.30EX+EZ)+EV |
| 1281 | 0.9(D+OP)+RHO(0.30EX-EZ)+EV |
| 1282 | 0.9(D+OP)+RHO(-0.30EX+EZ)+EV |
| 1283 | 0.9(D+OP)+RHO(-0.30EX-EZ)+EV |
| 1284 | 0.9(D+OP)+RHO(0.30EX+EZ)-EV |
| 1285 | 0.9(D+OP)+RHO(0.30EX-EZ)-EV |
| 1286 | 0.9(D+OP)+RHO(-0.30EX+EZ)-EV |
| 1287 | 0.9(D+OP)+RHO(-0.30EX-EZ)-EV |
| 1288 | 0.9(D+OP)+TST+TS+RHO(EX+0.30EZ)+EV |
| 1289 | 0.9(D+OP)+TST+TS+RHO(EX-0.30EZ)+EV |
| 1290 | 0.9(D+OP)+TST+TS+RHO(-EX+0.30EZ)+EV |
| 1291 | 0.9(D+OP)+TST+TS+RHO(-EX-0.30EZ)+EV |
| 1292 | 0.9(D+OP)+TST+TS+RHO(EX+0.30EZ)-EV |
| 1293 | 0.9(D+OP)+TST+TS+RHO(EX-0.30EZ)-EV |
| 1294 | 0.9(D+OP)+TST+TS+RHO(-EX+0.30EZ)-EV |
| 1295 | 0.9(D+OP)+TST+TS+RHO(-EX-0.30EZ)-EV |
| 1296 | 0.9(D+OP)+TST+TS+RHO(0.30EX+EZ)+EV |
| 1297 | 0.9(D+OP)+TST+TS+RHO(0.30EX-EZ)+EV |
| 1298 | 0.9(D+OP)+TST+TS+RHO(-0.30EX+EZ)+EV |
| 1299 | 0.9(D+OP)+TST+TS+RHO(-0.30EX-EZ)+EV |

Load combination table for wind displacement verification

| N° | Combinación de Carga |
| --- | --- |
| 1401 | D+OP+TST+TS+0.5L+0.70*0.6WX |
| 1402 | D+OP+TST+TS+0.5L-0.70*0.6WX |
| 1403 | D+OP+TST+TS+0.5L+0.70*0.6WZ |
| 1404 | D+OP+TST+TS+0.5L-0.70*0.6WZ |

Load combination table for seismic displacement verification

| N° | Combinación de Carga |
| --- | --- |
| 1501 | D+OP+TST+TS+0.5L+ (CDX/I)(EX+0.30EZ+EV) |
| 1502 | D+OP+TST+TS+0.5L+ (CDX/I)(EX-0.30EZ+EV) |
| 1503 | D+OP+TST+TS+0.5L+ (CDX/I)(-EX+0.30EZ+EV) |
| 1504 | D+OP+TST+TS+0.5L+ (CDX/I)(-EX-0.30EZ+EV) |
| 1505 | D+OP+TST+TS+0.5L+ (CDX/I)(EX+0.30EZ-EV) |
| 1506 | D+OP+TST+TS+0.5L+ (CDX/I)(EX-0.30EZ-EV) |
| 1507 | D+OP+TST+TS+0.5L+ (CDX/I)(-EX+0.30EZ-EV) |
| 1508 | D+OP+TST+TS+0.5L+ (CDX/I)(-EX-0.30EZ-EV) |
| 1509 | D+OP+TST+TS+0.5L+ (CDZ/I)(0.30EX+EZ+EV) |
| 1510 | D+OP+TST+TS+0.5L+ (CDZ/I)(0.30EX-EZ+EV) |
| 1511 | D+OP+TST+TS+0.5L+ (CDZ/I)(-0.30EX+EZ+EV) |
| 1512 | D+OP+TST+TS+0.5L+ (CDZ/I)(-0.30EX-EZ+EV) |
| 1513 | D+OP+TST+TS+0.5L+ (CDZ/I)(0.30EX+EZ-EV) |
| 1514 | D+OP+TST+TS+0.5L+ (CDZ/I)(0.30EX-EZ-EV) |
| 1515 | D+OP+TST+TS+0.5L+ (CDZ/I)(-0.30EX+EZ-EV) |
| 1516 | D+OP+TST+TS+0.5L+ (CDZ/I)(-0.30EX-EZ-EV) |

Load combination table for connection design

| N° | Combinación de Carga |
| --- | --- |
| 1601 | 1.2(D+OP)+L+OMEGAX*(EX+0.30EZ)+EV |
| 1602 | 1.2(D+OP)+L+OMEGAX*(EX-0.30EZ)+EV |
| 1603 | 1.2(D+OP)+L+OMEGAX*(-EX+0.30EZ)+EV |
| 1604 | 1.2(D+OP)+L+OMEGAX*(-EX-0.30EZ)+EV |
| 1605 | 1.2(D+OP)+L+OMEGAX*(EX+0.30EZ)-EV |
| 1606 | 1.2(D+OP)+L+OMEGAX*(EX-0.30EZ)-EV |
| 1607 | 1.2(D+OP)+L+OMEGAX*(-EX+0.30EZ)-EV |
| 1608 | 1.2(D+OP)+L+OMEGAX*(-EX-0.30EZ)-EV |
| 1609 | 0.9(D+OP)+OMEGAX*(EX+0.30EZ)+EV |
| 1610 | 0.9(D+OP)+OMEGAX*(EX-0.30EZ)+EV |
| 1611 | 0.9(D+OP)+OMEGAX*(-EX+0.30EZ)+EV |
| 1612 | 0.9(D+OP)+OMEGAX*(-EX-0.30EZ)+EV |
| 1613 | 0.9(D+OP)+OMEGAX*(EX+0.30EZ)-EV |
| 1614 | 0.9(D+OP)+OMEGAX*(EX-0.30EZ)-EV |
| 1615 | 0.9(D+OP)+OMEGAX*(-EX+0.30EZ)-EV |
| 1616 | 0.9(D+OP)+OMEGAX*(-EX-0.30EZ)-EV |
| 1617 | 1.2(D+OP)+L+1.2(TST+TS)+OMEGAX*(EX+0.30EZ)+EV |
| 1618 | 1.2(D+OP)+L+1.2(TST+TS)+OMEGAX*(EX-0.30EZ)+EV |
| 1619 | 1.2(D+OP)+L+1.2(TST+TS)+OMEGAX*(-EX+0.30EZ)+EV |
| 1620 | 1.2(D+OP)+L+1.2(TST+TS)+OMEGAX*(-EX-0.30EZ)+EV |
| 1621 | 1.2(D+OP)+L+1.2(TST+TS)+OMEGAX*(EX+0.30EZ)-EV |
| 1622 | 1.2(D+OP)+L+1.2(TST+TS)+OMEGAX*(EX-0.30EZ)-EV |
| 1623 | 1.2(D+OP)+L+1.2(TST+TS)+OMEGAX*(-EX+0.30EZ)-EV |
| 1624 | 1.2(D+OP)+L+1.2(TST+TS)+OMEGAX*(-EX-0.30EZ)-EV |
| 1625 | 0.9(D+OP)+1.2(TST+TS)+OMEGAX*(EX+0.30EZ)+EV |
| 1626 | 0.9(D+OP)+1.2(TST+TS)+OMEGAX*(EX-0.30EZ)+EV |
| 1627 | 0.9(D+OP)+1.2(TST+TS)+OMEGAX*(-EX+0.30EZ)+EV |
| 1628 | 0.9(D+OP)+1.2(TST+TS)+OMEGAX*(-EX-0.30EZ)+EV |
| 1629 | 0.9(D+OP)+1.2(TST+TS)+OMEGAX*(EX+0.30EZ)-EV |
| 1630 | 0.9(D+OP)+1.2(TST+TS)+OMEGAX*(EX-0.30EZ)-EV |
| 1631 | 0.9(D+OP)+1.2(TST+TS)+OMEGAX*(EX+0.30EZ)-EV |
| 1632 | 0.9(D+OP)+1.2(TST+TS)+OMEGAX*(EX-0.30EZ)-EV |
| 1633 | 1.2(D+OP)+L+OMEGAZ*(0.30EX+EZ)+EV |
| 1634 | 1.2(D+OP)+L+OMEGAZ*(0.30EX-EZ)+EV |
| 1635 | 1.2(D+OP)+L+OMEGAZ*(-0.30EX+EZ)+EV |
| 1636 | 1.2(D+OP)+L+OMEGAZ*(-0.30EX-EZ)+EV |
| 1637 | 1.2(D+OP)+L+OMEGAZ*(0.30EX+EZ)-EV |
| 1638 | 1.2(D+OP)+L+OMEGAZ*(0.30EX-EZ)-EV |
| 1639 | 1.2(D+OP)+L+OMEGAZ*(-0.30EX+EZ)-EV |
| 1640 | 1.2(D+OP)+L+OMEGAZ*(-0.30EX-EZ)-EV |
| 1641 | 0.9(D+OP)+OMEGAZ*(0.30EX+EZ)+EV |
| 1642 | 0.9(D+OP)+OMEGAZ*(0.30EX-EZ)+EV |
| 1643 | 0.9(D+OP)+OMEGAZ*(-0.30EX+EZ)+EV |
| 1644 | 0.9(D+OP)+OMEGAZ*(-0.30EX-EZ)+EV |
| 1645 | 0.9(D+OP)+OMEGAZ*(0.30EX+EZ)-EV |
| 1646 | 0.9(D+OP)+OMEGAZ*(0.30EX-EZ)-EV |
| 1647 | 0.9(D+OP)+OMEGAZ*(-0.30EX+EZ)-EV |
| 1648 | 0.9(D+OP)+OMEGAZ*(-0.30EX-EZ)-EV |
| 1649 | 1.2(D+OP)+L+1.2(TST+TS)+OMEGAZ*(0.30EX+EZ)+EV |
| 1650 | 1.2(D+OP)+L+1.2(TST+TS)+OMEGAZ*(0.30EX-EZ)+EV |
| 1651 | 1.2(D+OP)+L+1.2(TST+TS)+OMEGAZ*(-0.30EX+EZ)+EV |
| 1652 | 1.2(D+OP)+L+1.2(TST+TS)+OMEGAZ*(-0.30EX-EZ)+EV |
| 1653 | 1.2(D+OP)+L+1.2(TST+TS)+OMEGAZ*(0.30EX+EZ)-EV |
| 1654 | 1.2(D+OP)+L+1.2(TST+TS)+OMEGAZ*(0.30EX-EZ)-EV |
| 1655 | 1.2(D+OP)+L+1.2(TST+TS)+OMEGAZ*(-0.30EX+EZ)-EV |
| 1656 | 1.2(D+OP)+L+1.2(TST+TS)+OMEGAZ*(-0.30EX-EZ)-EV |
| 1657 | 0.9(D+OP)+1.2(TST+TS)+OMEGAZ*(0.30EX+EZ)+EV |
| 1658 | 0.9(D+OP)+1.2(TST+TS)+OMEGAZ*(0.30EX-EZ)+EV |
| 1659 | 0.9(D+OP)+1.2(TST+TS)+OMEGAZ*(0.30EX+EZ)+EV |
| 1660 | 0.9(D+OP)+1.2(TST+TS)+OMEGAZ*(0.30EX-EZ)+EV |
| 1661 | 0.9(D+OP)+1.2(TST+TS)+OMEGAZ*(0.30EX+EZ)-EV |
| 1662 | 0.9(D+OP)+1.2(TST+TS)+OMEGAZ*(0.30EX-EZ)-EV |
| 1663 | 0.9(D+OP)+1.2(TST+TS)+OMEGAZ*(0.30EX+EZ)-EV |
| 1664 | 0.9(D+OP)+1.2(TST+TS)+OMEGAZ*(0.30EX-EZ)-EV |

After the first run, the dynamic earthquake is corrected according to ASCE-7-XX and the displacements in the structure are checked.

Base shear and earthquake scaling

| Cu (Table 12.8-1) | 1.40 |
| --- | --- |

| Axis | MODE | MASS X (%) | MASS Z (%) | PERIOD (SEC) |
| --- | --- | --- | --- | --- |
| Long. | 1.00 | 65.77 | Not required | 0.38 |
| Trans. | 2.00 | Not required | 62.70 | 0.36 |
| ∑ | 9.00 | 96.80 | 99.63 | Not required |

| Axis | R | TL | Importance Factor, Ie | SDS |
| --- | --- | --- | --- | --- |
| Long. | 2.50 | 8.00 | 1.20 | 1.01 |
| Trans. | 2.50 | 8.00 |  |  |

| Axis | SD1 | Seismic Weight (W) | Fundamental period (Dynamic analysis) | Height |
| --- | --- | --- | --- | --- |
| Long. | 0.67 | 3.21 | 0.38 | 5.32 |
| Trans. |  | 3.21 | 0.36 |  |

| Axis | Factor Ct (Table 12.8-2) | Factor x (Table 12.8-2) | Approximate fundamental period Ta | Cu.Ta |
| --- | --- | --- | --- | --- |
| Long. | 0.07 | 0.80 | 0.28 | 0.39 |
| Trans. | 0.07 | 0.80 | 0.28 | 0.39 |

| Axis | T Final T ≤ Cu.Ta | Cs | Cs (Depends on T y TL) | Cs (final) |
| --- | --- | --- | --- | --- |
| Long. | 0.38 | 0.48 | 0.84 | 0.48 |
| Trans. | 0.36 | 0.48 | 0.89 | 0.48 |

| Axis | Cs = 0.044SDSIe >= 0.01 | Cs = 0.5S1Ie/R | Static base Shear (0.85*Vt =0.85*Cs*W) | Dynamic base Shear (V) |
| --- | --- | --- | --- | --- |
| Long. | 0.05 |  | 1.32 | 5.66 |
| Trans. |  |  | 1.32 | 4.86 |

With the design spectrum already scaled, the structure is designed to meet the following regulatory requirements:

Verification of deflections

The vertical and horizontal deflection in the beams must comply with project criteria:

Table to verify vertical deflection in beams

| Physical Member | Analytical Member | Length (m) | Load Case | Max DY (mm) | Factor | Allowable Deflection L/X (mm) | Standard Compliance | Deflection Ratio |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  | 5.9 | 202 | 0.71 | 360 | 16.39 | Yes | 0.04 |
| 2 |  | 5.9 | 202 | 1.03 | 360 | 16.39 | Yes | 0.06 |
| 3 |  | 5.9 | 202 | 1.16 | 360 | 16.39 | Yes | 0.07 |
| 4 |  | 5.9 | 202 | 0.67 | 360 | 16.39 | Yes | 0.04 |
| 5 |  | 5.9 | 202 | 0.05 | 360 | 16.39 | Yes | 0 |
| 6 |  | 5.9 | 202 | 0.05 | 360 | 16.39 | Yes | 0 |
| 7 |  | 5.9 | 202 | 0.05 | 360 | 16.39 | Yes | 0 |
| 8 |  | 5.9 | 202 | 0.05 | 360 | 16.39 | Yes | 0 |
| 9 |  | 6.9 | 202 | 0.81 | 360 | 19.17 | Yes | 0.04 |
| 10 |  | 6.9 | 202 | 1.17 | 360 | 19.17 | Yes | 0.06 |
| 11 |  | 2.85 | 202 | 0.03 | 360 | 7.92 | Yes | 0 |
| 12 |  | 6.9 | 202 | 6.35 | 360 | 19.17 | Yes | 0.33 |
| 13 |  | 2.85 | 202 | 0.04 | 360 | 7.92 | Yes | 0 |
| 14 |  | 6.9 | 202 | 0.73 | 360 | 19.17 | Yes | 0.04 |
| 15 |  | 0.5 | 204 | 0.15 | 120 | 4.17 | Yes | 0.04 |
| 16 |  | 0.5 | 204 | 0.15 | 120 | 4.17 | Yes | 0.04 |
| 17 |  | 0.5 | 204 | 0.2 | 120 | 4.17 | Yes | 0.05 |
| 18 |  | 0.5 | 204 | 0.2 | 120 | 4.17 | Yes | 0.05 |
| 29 |  | 3.75 | 202 | 0.05 | 360 | 10.42 | Yes | 0.01 |
| 30 |  | 3.75 | 202 | 0.16 | 360 | 10.42 | Yes | 0.02 |
| 31 |  | 3.75 | 202 | 0.03 | 360 | 10.42 | Yes | 0 |
| 32 |  | 3.75 | 202 | 0.16 | 360 | 10.42 | Yes | 0.02 |
| 33 |  | 3.75 | 202 | 0.09 | 360 | 10.42 | Yes | 0.01 |
| 34 |  | 3.5 | 202 | 0.77 | 360 | 9.72 | Yes | 0.08 |
| 35 |  | 2.4 | 202 | 0.41 | 360 | 6.67 | Yes | 0.06 |
|  | 19 | 2.85 | 202 | 0.09 | 360 | 7.92 | Yes | 0.01 |
|  | 22 | 2.85 | 202 | 0.09 | 360 | 7.92 | Yes | 0.01 |
|  | 35 | 3.75 | 202 | 0.33 | 360 | 10.42 | Yes | 0.03 |
|  | 38 | 3.75 | 202 | 0.46 | 360 | 10.42 | Yes | 0.04 |
|  | 70 | 1.51 | 202 | 0.4 | 360 | 4.21 | Yes | 0.09 |
|  | 71 | 2 | 202 | 0.07 | 360 | 5.56 | Yes | 0.01 |
|  | 72 | 2.4 | 202 | 0.7 | 360 | 6.67 | Yes | 0.11 |
|  | 73 | 3.5 | 204 | 1.42 | 360 | 9.72 | Yes | 0.15 |
|  | 74 | 1.51 | 202 | 0.46 | 360 | 4.21 | Yes | 0.11 |
|  | 75 | 2 | 202 | 0.34 | 360 | 5.56 | Yes | 0.06 |
|  | 76 | 0.8 | 202 | 0 | 360 | 2.22 | Yes | 0 |
|  | 77 | 0.8 | 202 | 0 | 360 | 2.22 | Yes | 0 |
|  | 78 | 0.8 | 202 | 0.01 | 360 | 2.22 | Yes | 0 |
|  | 79 | 0.8 | 202 | 0 | 360 | 2.22 | Yes | 0 |
|  | 80 | 0.8 | 202 | 0 | 360 | 2.22 | Yes | 0 |
|  | 87 | 1.05 | 202 | 0.01 | 360 | 2.92 | Yes | 0 |
|  | 88 | 1.87 | 202 | 0.06 | 360 | 5.2 | Yes | 0.01 |
|  | 89 | 1.87 | 202 | 0.07 | 360 | 5.19 | Yes | 0.01 |
|  | 90 | 3.75 | 204 | 0.65 | 360 | 10.42 | Yes | 0.06 |
|  | 112 | 3.75 | 204 | 0.26 | 360 | 10.42 | Yes | 0.03 |
|  | 119 | 3.75 | 202 | 0.48 | 360 | 10.42 | Yes | 0.05 |
|  | 122 | 3.75 | 202 | 0.33 | 360 | 10.42 | Yes | 0.03 |
|  | 125 | 3.75 | 202 | 0.32 | 360 | 10.42 | Yes | 0.03 |
|  | 128 | 3.75 | 202 | 0.4 | 360 | 10.42 | Yes | 0.04 |
|  | 134 | 3.75 | 202 | 0.68 | 360 | 10.42 | Yes | 0.07 |
|  | 142 | 3.75 | 202 | 0.89 | 360 | 10.42 | Yes | 0.09 |
|  | 183 | 3.75 | 202 | 0.39 | 360 | 10.42 | Yes | 0.04 |
|  | 186 | 0.8 | 202 | 0.1 | 120 | 6.67 | Yes | 0.01 |
|  | 188 | 3.75 | 202 | 0.39 | 360 | 10.42 | Yes | 0.04 |
|  | 191 | 2.85 | 202 | 0.09 | 360 | 7.92 | Yes | 0.01 |

The horizontal deflection of the structure due to loads must be less than indicated in the project design criteria:

Verification of horizontal deflections

Table to verify horizontal deflection in beams

| Physical Member | Analytical Member | Length (m) | Load Case | Max DY (mm) | Factor | Allowable Deflection L/X (mm) | Standard Compliance | Deflection Ratio |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  | 5.9 | 204 |  | 360 | 16.39 | Yes | 0.03 |
| 2 |  | 5.9 | 204 |  | 360 | 16.39 | Yes | 0.03 |
| 3 |  | 5.9 | 204 |  | 360 | 16.39 | Yes | 0.03 |
| 4 |  | 5.9 | 204 |  | 360 | 16.39 | Yes | 0.05 |
| 5 |  | 5.9 | 204 |  | 360 | 16.39 | Yes | 0.03 |
| 6 |  | 5.9 | 204 |  | 360 | 16.39 | Yes | 0.02 |
| 7 |  | 5.9 | 204 |  | 360 | 16.39 | Yes | 0.03 |
| 8 |  | 5.9 | 204 |  | 360 | 16.39 | Yes | 0.02 |
| 9 |  | 6.9 | 204 |  | 360 | 19.17 | Yes | 0.02 |
| 10 |  | 6.9 | 204 |  | 360 | 19.17 | Yes | 0.02 |
| 11 |  | 2.85 | 204 |  | 360 | 7.92 | Yes | 0.03 |
| 12 |  | 6.9 | 202 |  | 360 | 19.17 | Yes | 0.14 |
| 13 |  | 2.85 | 204 |  | 360 | 7.92 | Yes | 0.03 |
| 14 |  | 6.9 | 202 |  | 360 | 19.17 | Yes | 0.14 |
| 15 |  | 0.5 | 204 |  | 120 | 4.17 | Yes | 0.02 |
| 16 |  | 0.5 | 204 |  | 120 | 4.17 | Yes | 0.02 |
| 17 |  | 0.5 | 204 |  | 120 | 4.17 | Yes | 0.02 |
| 18 |  | 0.5 | 204 |  | 120 | 4.17 | Yes | 0.02 |
| 29 |  | 3.75 | 204 |  | 360 | 10.42 | Yes | 0.05 |
| 30 |  | 3.75 | 202 |  | 360 | 10.42 | Yes | 0.04 |
| 31 |  | 3.75 | 204 |  | 360 | 10.42 | Yes | 0.14 |
| 32 |  | 3.75 | 202 |  | 360 | 10.42 | Yes | 0.09 |
| 33 |  | 3.75 | 202 |  | 360 | 10.42 | Yes | 0.06 |
| 34 |  | 3.5 | 202 |  | 360 | 9.72 | Yes | 0.04 |
| 35 |  | 2.4 | 204 |  | 360 | 6.67 | Yes | 0.04 |
|  | 19 | 2.85 | 204 |  | 360 | 7.92 | Yes | 0.04 |
|  | 22 | 2.85 | 204 |  | 360 | 7.92 | Yes | 0.04 |
|  | 35 | 3.75 | 204 |  | 360 | 10.42 | Yes | 0.04 |
|  | 38 | 3.75 | 204 |  | 360 | 10.42 | Yes | 0.04 |
|  | 70 | 1.51 | 202 |  | 360 | 4.21 | Yes | 0.19 |
|  | 71 | 2 | 202 |  | 360 | 5.56 | Yes | 0.13 |
|  | 72 | 2.4 | 204 |  | 360 | 6.67 | Yes | 0.05 |
|  | 73 | 3.5 | 204 |  | 360 | 9.72 | Yes | 0.05 |
|  | 74 | 1.51 | 202 |  | 360 | 4.21 | Yes | 0.2 |
|  | 75 | 2 | 202 |  | 360 | 5.56 | Yes | 0.13 |
|  | 76 | 0.8 | 204 |  | 360 | 2.22 | Yes | 0.05 |
|  | 77 | 0.8 | 204 |  | 360 | 2.22 | Yes | 0.05 |
|  | 78 | 0.8 | 204 |  | 360 | 2.22 | Yes | 0.04 |
|  | 79 | 0.8 | 204 |  | 360 | 2.22 | Yes | 0.05 |
|  | 80 | 0.8 | 204 |  | 360 | 2.22 | Yes | 0.05 |
|  | 87 | 1.05 | 204 |  | 360 | 2.92 | Yes | 0.18 |
|  | 88 | 1.87 | 204 |  | 360 | 5.2 | Yes | 0.33 |
|  | 89 | 1.87 | 204 |  | 360 | 5.19 | Yes | 0.33 |
|  | 90 | 3.75 | 202 |  | 360 | 10.42 | Yes | 0.01 |
|  | 112 | 3.75 | 204 |  | 360 | 10.42 | Yes | 0.05 |
|  | 119 | 3.75 | 204 |  | 360 | 10.42 | Yes | 0.01 |
|  | 122 | 3.75 | 204 |  | 360 | 10.42 | Yes | 0.05 |
|  | 125 | 3.75 | 204 |  | 360 | 10.42 | Yes | 0.05 |
|  | 128 | 3.75 | 204 |  | 360 | 10.42 | Yes | 0.05 |
|  | 134 | 3.75 | 204 |  | 360 | 10.42 | Yes | 0.05 |
|  | 142 | 3.75 | 204 |  | 360 | 10.42 | Yes | 0.04 |
|  | 183 | 3.75 | 204 |  | 360 | 10.42 | Yes | 0.05 |
|  | 186 | 0.8 | 204 |  | 120 | 6.67 | Yes | 0.02 |
|  | 188 | 3.75 | 204 |  | 360 | 10.42 | Yes | 0.05 |
|  | 191 | 2.85 | 204 |  | 360 | 7.92 | Yes | 0.03 |

Verification of wind displacements

The lateral deflection of the structure due to wind loads must be less than indicated in the project design criteria.

Table for checking columns in X direction

| Physical Member | Analytical Member | Length (m) | Load Case | Max DX (mm) | Node | Factor | Allowable Deflection L/X (mm) | Standard Compliance DX | Deflection Ratio DX |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 19 |  | 0.203 | 1401 | 0.245 | 116 | 200 | 1.015 | YES | 0.24 |
| 20 |  | 2.2 | 1401 | 2.475 | 78 | 200 | 11 | YES | 0.23 |
| 21 |  | 1 | 1401 | 0.86 | 19 | 200 | 5 | YES | 0.17 |
| 22 |  | 2.2 | 1401 | 1.736 | 20 | 200 | 11 | YES | 0.16 |
| 23 |  | 1 | 1402 | 0.898 | 21 | 200 | 5 | YES | 0.18 |
| 24 |  | 2.7 | 1401 | 2.152 | 22 | 200 | 13.5 | YES | 0.16 |
| 25 |  | 2.7 | 1402 | 2.398 | 23 | 200 | 13.5 | YES | 0.18 |
| 26 |  | 2.7 | 1401 | 2.595 | 24 | 200 | 13.5 | YES | 0.19 |
| 27 |  | 2.7 | 1402 | 0.98 | 25 | 200 | 13.5 | YES | 0.07 |
| 28 |  | 2.7 | 1401 | 1.059 | 26 | 200 | 13.5 | YES | 0.08 |
|  | 58 | 0.8 | 1402 | 0.19 | 42 | 200 | 4 | YES | 0.05 |
|  | 59 | 0.8 | 1402 | 0.191 | 41 | 200 | 4 | YES | 0.05 |
|  | 60 | 0.8 | 1401 | 0.365 | 40 | 200 | 4 | YES | 0.09 |
|  | 61 | 0.8 | 1401 | 0.362 | 39 | 200 | 4 | YES | 0.09 |
|  | 62 | 0.8 | 1401 | 0.302 | 48 | 200 | 4 | YES | 0.08 |
|  | 63 | 0.8 | 1401 | 0.298 | 47 | 200 | 4 | YES | 0.07 |
|  | 64 | 0.8 | 1401 | 2.63 | 36 | 200 | 4 | YES | 0.66 |
|  | 65 | 0.8 | 1401 | 2.622 | 35 | 200 | 4 | YES | 0.66 |
|  | 66 | 0.8 | 1401 | 4.078 | 34 | 200 | 4 | NO | 1.02 |
|  | 67 | 0.8 | 1401 | 4.079 | 33 | 200 | 4 | NO | 1.02 |
|  | 85 | 0.8 | 1401 | 0.377 | 53 | 200 | 4 | YES | 0.09 |
|  | 86 | 0.8 | 1401 | 0.317 | 54 | 200 | 4 | YES | 0.08 |

Table for checking columns in Z direction

| Physical Member | Analytical Member | Length (m) | Load Case | Max DZ (mm) | Node | Factor | Allowable Deflection L/X (mm) | Standard Compliance DZ | Deflection Ratio DZ |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 19 |  | 0.2 | 1403 | 0.212 | 94 | 200 | 1 | YES | 0.21 |
| 20 |  | 0.2 | 1403 | 0.187 | 95 | 200 | 1 | YES | 0.19 |
| 21 |  | 0.5 | 1403 | 0.566 | 112 | 200 | 2.5 | YES | 0.23 |
| 22 |  | 0.5 | 1403 | 0.609 | 113 | 200 | 2.5 | YES | 0.24 |
| 23 |  | 1.7 | 1403 | 1.058 | 126 | 200 | 8.5 | YES | 0.12 |
| 24 |  | 2.7 | 1403 | 1.668 | 22 | 200 | 13.5 | YES | 0.12 |
| 25 |  | 2.7 | 1403 | 2.291 | 23 | 200 | 13.5 | YES | 0.17 |
| 26 |  | 2.7 | 1403 | 2.661 | 24 | 200 | 13.5 | YES | 0.2 |
| 27 |  | 2.7 | 1403 | 3.482 | 25 | 200 | 13.5 | YES | 0.26 |
| 28 |  | 2.7 | 1403 | 3.839 | 26 | 200 | 13.5 | YES | 0.28 |
|  | 58 | 0.8 | 1401 | 1.573 | 52 | 200 | 4 | YES | 0.39 |
|  | 59 | 0.8 | 1402 | 1.461 | 51 | 200 | 4 | YES | 0.37 |
|  | 60 | 0.8 | 1401 | 1.032 | 50 | 200 | 4 | YES | 0.26 |
|  | 61 | 0.8 | 1402 | 0.701 | 49 | 200 | 4 | YES | 0.18 |
|  | 62 | 0.8 | 1401 | 2.069 | 48 | 200 | 4 | YES | 0.52 |
|  | 63 | 0.8 | 1402 | 1.871 | 47 | 200 | 4 | YES | 0.47 |
|  | 64 | 0.8 | 1401 | 3.42 | 46 | 200 | 4 | YES | 0.86 |
|  | 65 | 0.8 | 1402 | 3.054 | 45 | 200 | 4 | YES | 0.76 |
|  | 66 | 0.8 | 1401 | 2.648 | 44 | 200 | 4 | YES | 0.66 |
|  | 67 | 0.8 | 1402 | 2.71 | 43 | 200 | 4 | YES | 0.68 |
|  | 85 | 0.8 | 1402 | 0.264 | 55 | 200 | 4 | YES | 0.07 |
|  | 86 | 0.8 | 1402 | 0.241 | 56 | 200 | 4 | YES | 0.06 |

Verification of earthquake displacements

The lateral drift ratio in the structure's columns due to seismic loads must be less than that indicated in the standard governing the design and that indicated in the project's design criteria.

Table to verify the lateral drift relationship of columns in the X direction

| Physical Member | Analytical Member | Length (m) | Load Case | Max DX (mm) | Node | Factor | Allowable Deflection (mm) | Standard Compliance DX | Deflection Ratio DX |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 19 |  | 0.5 | 1501 | 1.413 | 114 | 0.016 | 31250 | YES | 0 |
| 20 |  | 0.5 | 1501 | 1.472 | 115 | 0.016 | 31250 | YES | 0 |
| 21 |  | 0.5 | 1501 | 0.44 | 112 | 0.016 | 31250 | YES | 0 |
| 22 |  | 0.5 | 1501 | 0.422 | 113 | 0.016 | 31250 | YES | 0 |
| 23 |  | 1.7 | 1501 | 6.928 | 126 | 0.016 | 106250 | YES | 0 |
| 24 |  | 2.7 | 1501 | 14.102 | 22 | 0.016 | 168750 | YES | 0 |
| 25 |  | 2.7 | 1501 | 7.93 | 23 | 0.016 | 168750 | YES | 0 |
| 26 |  | 2.7 | 1501 | 8.554 | 24 | 0.016 | 168750 | YES | 0 |
| 27 |  | 2.7 | 1501 | 3.6 | 25 | 0.016 | 168750 | YES | 0 |
| 28 |  | 2.7 | 1501 | 4.181 | 26 | 0.016 | 168750 | YES | 0 |
|  | 58 | 0.8 | 1501 | 0.294 | 42 | 0.016 | 50000 | YES | 0 |
|  | 59 | 0.8 | 1501 | 0.307 | 41 | 0.016 | 50000 | YES | 0 |
|  | 60 | 0.8 | 1501 | 0.749 | 40 | 0.016 | 50000 | YES | 0 |
|  | 61 | 0.8 | 1501 | 0.74 | 39 | 0.016 | 50000 | YES | 0 |
|  | 62 | 0.8 | 1501 | 0.406 | 48 | 0.016 | 50000 | YES | 0 |
|  | 63 | 0.8 | 1501 | 0.395 | 47 | 0.016 | 50000 | YES | 0 |
|  | 64 | 0.8 | 1501 | 2.95 | 36 | 0.016 | 50000 | YES | 0 |
|  | 65 | 0.8 | 1501 | 2.941 | 35 | 0.016 | 50000 | YES | 0 |
|  | 66 | 0.8 | 1501 | 4.271 | 34 | 0.016 | 50000 | YES | 0 |
|  | 67 | 0.8 | 1501 | 4.273 | 33 | 0.016 | 50000 | YES | 0 |
|  | 85 | 0.8 | 1501 | 0.879 | 53 | 0.016 | 50000 | YES | 0 |
|  | 86 | 0.8 | 1501 | 1.001 | 54 | 0.016 | 50000 | YES | 0 |

Table to verify the lateral drift relationship of columns in the Z direction

| Physical Member | Analytical Member | Length (m) | Load Case | Max DZ (mm) | Node | Factor | Allowable Deflection (mm) | Standard Compliance DZ | Deflection Ratio DZ |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 19 |  | 0.5 | 1501 | 0.92 | 114 | 0.016 | 31250 | YES | 0 |
| 20 |  | 0.5 | 1501 | 0.68 | 115 | 0.016 | 31250 | YES | 0 |
| 21 |  | 0.5 | 1501 | 0.79 | 112 | 0.016 | 31250 | YES | 0 |
| 22 |  | 0.5 | 1501 | 1.25 | 113 | 0.016 | 31250 | YES | 0 |
| 23 |  | 1.7 | 1501 | 1.15 | 126 | 0.016 | 106250 | YES | 0 |
| 24 |  | 2.7 | 1501 | 2.73 | 22 | 0.016 | 168750 | YES | 0 |
| 25 |  | 2.7 | 1501 | 0.20 | 23 | 0.016 | 168750 | YES | 0 |
| 26 |  | 2.7 | 1501 | 3.76 | 24 | 0.016 | 168750 | YES | 0 |
| 27 |  | 2.7 | 1501 | 0.96 | 25 | 0.016 | 168750 | YES | 0 |
| 28 |  | 2.7 | 1501 | 4.96 | 26 | 0.016 | 168750 | YES | 0 |
|  | 58 | 0.8 | 1501 | 1.22 | 42 | 0.016 | 50000 | YES | 0 |
|  | 59 | 0.8 | 1501 | 2.02 | 51 | 0.016 | 50000 | YES | 0 |
|  | 60 | 0.8 | 1501 | 9.94 | 40 | 0.016 | 50000 | YES | 0 |
|  | 61 | 0.8 | 1501 | 3.31 | 49 | 0.016 | 50000 | YES | 0 |
|  | 62 | 0.8 | 1501 | 2.01 | 38 | 0.016 | 50000 | YES | 0 |
|  | 63 | 0.8 | 1501 | 1.37 | 47 | 0.016 | 50000 | YES | 0 |
|  | 64 | 0.8 | 1501 | 8.93 | 36 | 0.016 | 50000 | YES | 0 |
|  | 65 | 0.8 | 1501 | 14.34 | 45 | 0.016 | 50000 | YES | 0 |
|  | 66 | 0.8 | 1501 | 0.82 | 34 | 0.016 | 50000 | YES | 0 |
|  | 67 | 0.8 | 1501 | 5.56 | 43 | 0.016 | 50000 | YES | 0 |
|  | 85 | 0.8 | 1501 | 0.15 | 55 | 0.016 | 50000 | YES | 0 |
|  | 86 | 0.8 | 1501 | 0.12 | 56 | 0.016 | 50000 | YES | 0 |

Verification of limit states of exhaustion by strength

The stress ratio in all members of the structure must be less than 1; the ratios for each member are shown in the following figure and/or table:

| Element ID | Profile | Design Code | Critical Load Case | Critical Section (m) | Critical Ratio | Design State |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | W10X54 | 360-16 L | 1269 | 0.5 | 0.373 | PASS |
| 2 | W10X54 | 360-16 L | 1211 | 0.5 | 0.093 | PASS |
| 3 | W10X54 | 360-16 L | 1211 | 0.9 | 0.06 | PASS |
| 4 | W10X54 | 360-16 L | 1268 | 0.5 | 0.358 | PASS |
| 5 | W10X54 | 360-16 L | 1252 | 0 | 0.108 | PASS |
| 6 | W10X54 | 360-16 L | 1210 | 0.9 | 0.061 | PASS |
| 7 | W10X54 | 360-16 L | 1262 | 0 | 0.259 | PASS |
| 8 | W10X54 | 360-16 L | 1262 | 0.5 | 0.149 | PASS |
| 9 | W10X54 | 360-16 L | 1257 | 0 | 0.253 | PASS |
| 10 | W10X54 | 360-16 L | 1257 | 0.5 | 0.144 | PASS |
| 11 | W10X54 | 360-16 L | 1223 | 0 | 0.208 | PASS |
| 12 | W10X54 | 360-16 L | 1262 | 0.5 | 0.129 | PASS |
| 13 | W10X54 | 360-16 L | 1222 | 0 | 0.218 | PASS |
| 14 | W10X54 | 360-16 L | 1269 | 0.5 | 0.125 | PASS |
| 15 | W10X54 | 360-16 L | 1262 | 0 | 0.111 | PASS |
| 16 | W10X54 | 360-16 L | 1270 | 0.5 | 0.114 | PASS |
| 17 | W10X54 | 360-16 L | 1261 | 2.7 | 0.108 | PASS |
| 18 | W10X54 | 360-16 L | 1269 | 0.5 | 0.118 | PASS |
| 19 | W10X26 | 360-16 L | 1267 | 0 | 0.043 | PASS |
| 20 | W10X26 | 360-16 L | 1263 | 3.7 | 0.247 | PASS |
| 21 | W10X26 | 360-16 L | 1222 | 3.54 | 0.357 | PASS |
| 22 | W10X26 | 360-16 L | 1268 | 0 | 0.032 | PASS |
| 23 | W10X26 | 360-16 L | 1260 | 3.7 | 0.302 | PASS |
| 24 | W10X26 | 360-16 L | 1222 | 3.54 | 0.461 | PASS |
| 29 | W10X26 | 360-16 L | 1269 | 0.9 | 0.085 | PASS |
| 30 | W10X26 | 360-16 L | 1263 | 2.4 | 0.379 | PASS |
| 31 | W10X26 | 360-16 L | 1269 | 1.515 | 0.393 | PASS |
| 32 | W10X26 | 360-16 L | 1270 | 0.9 | 0.085 | PASS |
| 33 | W10X26 | 360-16 L | 1247 | 2.1 | 0.291 | PASS |
| 34 | W10X26 | 360-16 L | 1245 | 1.515 | 0.185 | PASS |
| 35 | W10X26 | 360-16 L | 1222 | 0 | 0.215 | PASS |
| 36 | W10X26 | 360-16 L | 1268 | 1.64 | 0.301 | PASS |
| 37 | W10X26 | 360-16 L | 1268 | 1.87 | 0.407 | PASS |
| 38 | W10X26 | 360-16 L | 1245 | 0 | 0.176 | PASS |
| 39 | W10X26 | 360-16 L | 1260 | 0.75 | 0.222 | PASS |
| 40 | W10X26 | 360-16 L | 1261 | 0 | 0.33 | PASS |
| 41 | W10X26 | 360-16 L | 1268 | 1.871 | 0.201 | PASS |
| 42 | W10X26 | 360-16 L | 1222 | 2 | 0.272 | PASS |
| 43 | W10X26 | 360-16 L | 1269 | 2 | 0.632 | PASS |
| 44 | W10X26 | 360-16 L | 1255 | 1.87 | 0.263 | PASS |
| 45 | W10X26 | 360-16 L | 1260 | 0 | 0.246 | PASS |
| 46 | W10X26 | 360-16 L | 1206 | 1.975 | 0.769 | PASS |
| 47 | W10X26 | 360-16 L | 1255 | 1.87 | 0.212 | PASS |
| 48 | W10X26 | 360-16 L | 1255 | 0.333 | 0.173 | PASS |
| 49 | W10X26 | 360-16 L | 1254 | 0 | 0.182 | PASS |
| 50 | W10X26 | 360-16 L | 1269 | 0.467 | 0.257 | PASS |
| 51 | W10X26 | 360-16 L | 1269 | 0 | 0.259 | PASS |
| 52 | W10X26 | 360-16 L | 1268 | 0 | 0.335 | PASS |
| 53 | W10X26 | 360-16 L | 1246 | 1.08 | 0.358 | PASS |
| 54 | W10X26 | 360-16 L | 1268 | 0 | 0.201 | PASS |
| 55 | W10X26 | 360-16 L | 1271 | 1.08 | 0.244 | PASS |
| 56 | W10X26 | 360-16 L | 1268 | 0 | 0.244 | PASS |
| 57 | W10X26 | 360-16 L | 1246 | 1.08 | 0.283 | PASS |
| 58 | W8X18 | 360-16 L | 1260 | 0.8 | 0.11 | PASS |
| 59 | W8X18 | 360-16 L | 1280 | 0.8 | 0.207 | PASS |
| 60 | W8X18 | 360-16 L | 1255 | 0.8 | 0.375 | PASS |
| 61 | W8X18 | 360-16 L | 1252 | 0.8 | 0.233 | PASS |
| 62 | W8X18 | 360-16 L | 1211 | 0.8 | 0.207 | PASS |
| 63 | W8X18 | 360-16 L | 1268 | 0.8 | 0.263 | PASS |
| 64 | W8X18 | 360-16 L | 1252 | 0.8 | 0.401 | PASS |
| 65 | W8X18 | 360-16 L | 1255 | 0.8 | 0.2 | PASS |
| 66 | W8X18 | 360-16 L | 1248 | 0.8 | 0.294 | PASS |
| 67 | W8X18 | 360-16 L | 1255 | 0.8 | 0.216 | PASS |
| 68 | W8X18 | 360-16 L | 1244 | 2.1 | 0.361 | PASS |
| 69 | W8X18 | 360-16 L | 1246 | 0 | 0.307 | PASS |
| 70 | W8X18 | 360-16 L | 1246 | 0 | 0.48 | PASS |
| 71 | W8X18 | 360-16 L | 1269 | 2 | 0.101 | PASS |
| 72 | W8X18 | 360-16 L | 1244 | 2.4 | 0.377 | PASS |
| 73 | W8X18 | 360-16 L | 1246 | 3.5 | 0.768 | PASS |
| 74 | W8X18 | 360-16 L | 1246 | 0 | 0.623 | PASS |
| 75 | W8X18 | 360-16 L | 1245 | 0.5 | 0.114 | PASS |
| 76 | W8X18 | 360-16 L | 1240 | 0 | 0.262 | PASS |
| 77 | W8X18 | 360-16 L | 1270 | 0 | 0.242 | PASS |
| 78 | W8X18 | 360-16 L | 1256 | 0 | 0.219 | PASS |
| 79 | W8X18 | 360-16 L | 1262 | 0.8 | 0.245 | PASS |
| 80 | W8X18 | 360-16 L | 1245 | 0 | 0.06 | PASS |
| 81 | W10X26 | 360-16 L | 1244 | 0.3 | 0.262 | PASS |
| 82 | W10X26 | 360-16 L | 1260 | 0 | 0.3 | PASS |
| 83 | W8X18 | 360-16 L | 1262 | 0.3 | 0.241 | PASS |
| 84 | W8X18 | 360-16 L | 1246 | 2.75 | 0.6 | PASS |
| 85 | W8X18 | 360-16 L | 1255 | 0 | 0.105 | PASS |
| 86 | W8X18 | 360-16 L | 1203 | 0 | 0.108 | PASS |
| 87 | W8X18 | 360-16 L | 1264 | 0 | 0.158 | PASS |
| 88 | W8X18 | 360-16 L | 1256 | 1.871 | 0.214 | PASS |
| 89 | W8X18 | 360-16 L | 1256 | 1.87 | 0.167 | PASS |
| 90 | W10X26 | 360-16 L | 1210 | 0 | 0.181 | PASS |
| 95 | W10X26 | 360-16 L | 1268 | 0 | 0.3 | PASS |
| 102 | W10X54 | 360-16 L | 1210 | 0.075 | 0.065 | PASS |
| 103 | W10X26 | 360-16 L | 1270 | 0 | 0.083 | PASS |
| 104 | W10X26 | 360-16 L | 1269 | 0 | 0.082 | PASS |
| 105 | W10X54 | 360-16 L | 1211 | 0.075 | 0.065 | PASS |
| 106 | WT5X13 Tee | 360-16 L | 1298 | 0 | 0.025 | PASS |
| 107 | WT5X13 Tee | 360-16 L | 1297 | 0 | 0.022 | PASS |
| 108 | W12X65 | 360-16 L | 1246 | 0 | 0.46 | PASS |
| 109 | W12X65 | 360-16 L | 1246 | 0.5 | 0.265 | PASS |
| 110 | W12X65 | 360-16 L | 1257 | 0 | 0.529 | PASS |
| 111 | W12X65 | 360-16 L | 1256 | 0.5 | 0.285 | PASS |
| 112 | W10X39 | 360-16 L | 1257 | 0 | 0.433 | PASS |
| 113 | W10X26 | 360-16 L | 1270 | 1.6 | 0.195 | PASS |
| 114 | W10X26 | 360-16 L | 1261 | 2.95 | 0.159 | PASS |
| 115 | W10X26 | 360-16 L | 1262 | 2.95 | 0.157 | PASS |
| 116 | W10X26 | 360-16 L | 1269 | 1.6 | 0.216 | PASS |
| 118 | W10X54 | 360-16 L | 1222 | 1.325 | 0.119 | PASS |
| 119 | W10X26 | 360-16 L | 1222 | 0 | 0.322 | PASS |
| 120 | W10X54 | 360-16 L | 1241 | 1.325 | 0.121 | PASS |
| 121 | W10X54 | 360-16 L | 1246 | 1.325 | 0.138 | PASS |
| 122 | W10X26 | 360-16 L | 1241 | 0 | 0.428 | PASS |
| 123 | W10X54 | 360-16 L | 1245 | 1.325 | 0.163 | PASS |
| 124 | W10X54 | 360-16 L | 1246 | 1.325 | 0.181 | PASS |
| 125 | W10X26 | 360-16 L | 1261 | 0 | 0.365 | PASS |
| 126 | W10X54 | 360-16 L | 1269 | 0 | 0.088 | PASS |
| 127 | W10X54 | 360-16 L | 1270 | 0 | 0.087 | PASS |
| 128 | W10X26 | 360-16 L | 1261 | 0 | 0.223 | PASS |
| 130 | W10X54 | 360-16 L | 1223 | 1.325 | 0.116 | PASS |
| 132 | W12X65 | 360-16 L | 1246 | 1.325 | 0.225 | PASS |
| 133 | W12X65 | 360-16 L | 1257 | 1.325 | 0.231 | PASS |
| 134 | W10X39 | 360-16 L | 1257 | 3.751 | 0.628 | PASS |
| 135 | W12X65 | 360-16 L | 1261 | 0.975 | 0.184 | PASS |
| 136 | W12X65 | 360-16 L | 1261 | 0 | 0.067 | PASS |
| 137 | W12X65 | 360-16 L | 1262 | 0.975 | 0.187 | PASS |
| 138 | W12X65 | 360-16 L | 1260 | 0 | 0.089 | PASS |
| 142 | W10X39 | 360-16 L | 1257 | 3.751 | 0.438 | PASS |
| 143 | W12X65 | 360-16 L | 1269 | 0 | 0.001 | PASS |
| 144 | W12X65 | 360-16 L | 1252 | 0 | 0.001 | PASS |
| 145 | W12X65 | 360-16 L | 1255 | 0 | 0.001 | PASS |
| 146 | W12X65 | 360-16 L | 1254 | 0 | 0.001 | PASS |
| 151 | W12X65 | 360-16 L | 1269 | 0 | 0.084 | PASS |
| 152 | W12X65 | 360-16 L | 1268 | 0 | 0.064 | PASS |
| 157 | W10X26 | 360-16 L | 1269 | 0 | 0.221 | PASS |
| 158 | W10X26 | 360-16 L | 1260 | 1.35 | 0.184 | PASS |
| 159 | WT5X13 Tee | 360-16 L | 1264 | 2.295 | 0.101 | PASS |
| 160 | WT5X13 Tee | 360-16 L | 1267 | 2.295 | 0.116 | PASS |
| 161 | W10X26 | 360-16 L | 1263 | 0 | 0.203 | PASS |
| 162 | W10X26 | 360-16 L | 1260 | 0 | 0.198 | PASS |
| 163 | WT5X13 Tee | 360-16 L | 1254 | 0 | 0.192 | PASS |
| 164 | WT5X13 Tee | 360-16 L | 1271 | 3.469 | 0.364 | PASS |
| 165 | WT5X13 Tee | 360-16 L | 1268 | 0 | 0.324 | PASS |
| 166 | WT5X13 Tee | 360-16 L | 1285 | 0 | 0.163 | PASS |
| 167 | W10X26 | 360-16 L | 1261 | 0 | 0.171 | PASS |
| 168 | W10X26 | 360-16 L | 1262 | 0 | 0.164 | PASS |
| 169 | W10X54 | 360-16 L | 1269 | 0 | 0.348 | PASS |
| 170 | W10X54 | 360-16 L | 1268 | 0 | 0.336 | PASS |
| 171 | W12X65 | 360-16 L | 1246 | 0 | 0.466 | PASS |
| 172 | W12X65 | 360-16 L | 1257 | 0 | 0.489 | PASS |
| 173 | WT5X13 Tee | 360-16 L | 1254 | 0 | 0.461 | PASS |
| 174 | WT5X13 Tee | 360-16 L | 1269 | 0 | 0.489 | PASS |
| 175 | WT5X13 Tee | 360-16 L | 1270 | 0 | 0.44 | PASS |
| 176 | WT5X13 Tee | 360-16 L | 1269 | 0 | 0.427 | PASS |
| 177 | W12X65 | 360-16 L | 1269 | 0 | 0.046 | PASS |
| 178 | W12X65 | 360-16 L | 1268 | 0 | 0.035 | PASS |
| 179 | W10X26 | 360-16 L | 1223 | 0 | 0.149 | PASS |
| 180 | W10X26 | 360-16 L | 1223 | 0 | 0.161 | PASS |
| 181 | W10X26 | 360-16 L | 1223 | 0.615 | 0.428 | PASS |
| 182 | W10X26 | 360-16 L | 1223 | 0 | 0.451 | PASS |
| 183 | W8X18 | 360-16 L | 1262 | 3.125 | 0.059 | PASS |
| 185 | W10X26 | 360-16 L | 1262 | 0 | 0.331 | PASS |
| 186 | W8X18 | 360-16 L | 1254 | 0 | 0.18 | PASS |
| 187 | W10X26 | 360-16 L | 1262 | 0 | 0.281 | PASS |
| 188 | W8X18 | 360-16 L | 1262 | 3.438 | 0.116 | PASS |
| 189 | W10X54 | 360-16 L | 1255 | 1 | 0.083 | PASS |
| 190 | W10X54 | 360-16 L | 1265 | 0 | 0.139 | PASS |
| 191 | W10X26 | 360-16 L | 1269 | 0 | 0.035 | PASS |

Structure Bill of Quantities

| Type | Profile | Length (m) | Weight (kN) |
| --- | --- | --- | --- |
| ST | W10X54 | 38.15 | 29.874 |
| ST | W10X26 | 134.06 | 50.56 |
| ST | W8X18 | 45.52 | 11.867 |
| T | W10X26 | 35.73 | 6.738 |
| ST | W12X65 | 15.15 | 14.337 |
| ST | W10X39 | 11.25 | 6.414 |

Reactions at the base of the structure

For the design of the structure's foundations, the reactions for the service and ultimate load cases are obtained (200 and 1200).

| Node | Load Case | FX (kN) | FY (kN) | FZ (kN) | MX (kN-m) | MY (kN-m) | MZ (kN-m) | Critical Component |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 0.07 | 11.4 | -0.56 | 0 | 0 | -0.07 | FY |
| 1 | 2 | 1.42 | 46.11 | -1.37 | 0 | 0 | -1.43 | FY |
| 1 | 4 | 0 | -0.01 | 0.01 | 0 | 0 | 0 | FZ |
| 1 | 5 | -1.63 | 0.15 | -0.09 | 0 | 0 | 1.47 | FX |
| 1 | 7 | -0.64 | 11 | -5.3 | 0 | 0.01 | 1.31 | FY |
| 1 | 8 | -23.58 | -20.75 | -3.92 | 0 | 0 | 46.88 | MZ |
| 1 | 9 | 23.58 | 21.4 | 3.53 | 0 | 0 | -46.88 | MZ |
| 1 | 10 | 0 | 47.27 | -27.84 | 0 | 0.02 | 0 | FY |
| 1 | 11 | 0 | -47.27 | 27.84 | 0 | -0.02 | 0 | FY |
| 1 | 12 | -13.94 | -18.12 | -2.87 | 0 | 0 | 29.04 | MZ |
| 1 | 13 | 0.06 | -101.42 | 61.36 | 0 | 0 | -0.1 | FY |
| 1 | 14 | -0.45 | -17.86 | 0.95 | 0 | 0 | 0.45 | FY |
| 2 | 1 | -0.07 | 12.02 | -1.38 | 0 | 0 | 0.07 | FY |
| 2 | 2 | -1.42 | 45 | -1.73 | 0 | 0 | 1.47 | FY |
| 2 | 4 | 0 | 0.05 | -0.02 | 0 | 0 | 0 | FY |
| 2 | 5 | 1.63 | -0.03 | 0.74 | 0 | 0 | -1.47 | FX |
| 2 | 7 | -0.64 | 7.65 | -3.04 | 0 | -0.01 | 1.31 | FY |
| 2 | 8 | -23.07 | 20.79 | 4.26 | 0 | 0 | 46.44 | MZ |
| 2 | 9 | 23.07 | -21.44 | -3.84 | 0 | 0 | -46.44 | MZ |
| 2 | 10 | 0 | 47.21 | -30.23 | 0 | -0.02 | 0 | FY |
| 2 | 11 | 0 | -47.21 | 30.23 | 0 | 0.02 | 0 | FY |
| 2 | 12 | -13.82 | 18.32 | 4.1 | 0 | 0 | 28.93 | MZ |
| 2 | 13 | 0.06 | 91.81 | -61.84 | 0 | 0 | -0.1 | FY |
| 2 | 14 | 0.45 | -16.47 | 0.53 | 0 | 0 | -0.46 | FY |
| 3 | 1 | 0.09 | 10.22 | -0.07 | 0 | 0 | -0.1 | FY |
| 3 | 2 | 1.11 | 42.61 | -0.17 | 0 | 0 | -1.16 | FY |
| 3 | 4 | -0.02 | 5.79 | 0 | 0 | 0 | 0.04 | FY |
| 3 | 5 | 2.34 | -0.07 | -0.18 | 0 | 0 | -3.87 | MZ |
| 3 | 7 | 0.05 | 0.23 | -0.58 | 0 | 0 | -0.1 | FZ |
| 3 | 8 | -24.29 | -25.81 | -0.4 | 0 | 0 | 49.21 | MZ |
| 3 | 9 | 21.76 | 22.68 | 0.36 | 0 | 0 | -43.66 | MZ |
| 3 | 10 | 0.03 | 0.64 | -3.76 | 0 | 0.02 | -0.07 | FZ |
| 3 | 11 | -0.03 | -0.64 | 3.76 | 0 | -0.02 | 0.07 | FZ |
| 3 | 12 | -24.51 | 24.87 | 0.3 | 0 | 0 | 51.05 | MZ |
| 3 | 13 | 0.66 | 2.16 | 6.82 | 0 | 0.01 | -1.33 | FZ |
| 3 | 14 | -5.54 | -15.76 | 0.11 | 0 | 0 | 11.37 | FY |
| 4 | 1 | -0.04 | 10.48 | -0.02 | 0 | 0 | 0.04 | FY |
| 4 | 2 | -1.05 | 32.61 | -0.03 | 0 | 0 | 1.12 | FY |
| 4 | 4 | 0.02 | 6.22 | 0 | 0 | 0 | 0.03 | FY |
| 4 | 5 | -2.36 | 0 | -0.57 | 0 | 0 | 3.89 | MZ |
| 4 | 7 | 0.04 | 0.03 | -0.08 | 0 | 0 | -0.09 | MZ |
| 4 | 8 | -23.79 | 26.01 | 0.03 | 0 | 0 | 48.79 | MZ |
| 4 | 9 | 21.26 | -22.87 | -0.02 | 0 | 0 | -43.24 | MZ |
| 4 | 10 | 0.04 | 0.48 | -1.41 | 0 | -0.02 | -0.09 | FZ |
| 4 | 11 | -0.04 | -0.48 | 1.41 | 0 | 0.02 | 0.09 | FZ |
| 4 | 12 | -24.39 | -25.03 | -0.09 | 0 | 0 | 50.96 | MZ |
| 4 | 13 | 0.66 | -2.18 | -1.34 | 0 | 0.01 | -1.33 | FY |
| 4 | 14 | -5.52 | -2.72 | 0 | 0 | 0 | 11.32 | MZ |
| 5 | 1 | 0.16 | 32.05 | -0.02 | 0 | 0 | -0.22 | FY |
| 5 | 2 | 1.31 | 49.32 | -0.03 | 0 | 0 | -1.54 | FY |
| 5 | 4 | -0.05 | 12.93 | 0 | 0 | 0 | 0.11 | FY |
| 5 | 5 | 2.35 | -0.03 | -0.47 | 0 | 0 | -3.87 | MZ |
| 5 | 7 | -0.12 | -0.24 | -0.09 | 0 | 0 | 0.27 | MZ |
| 5 | 8 | -29.76 | -32.47 | 0.03 | 0 | 0 | 60.46 | MZ |
| 5 | 9 | 27.53 | 29.54 | -0.03 | 0 | 0 | -55.57 | MZ |
| 5 | 10 | -0.06 | -0.21 | -1.35 | 0 | 0.02 | 0.16 | FZ |
| 5 | 11 | 0.06 | 0.21 | 1.35 | 0 | -0.02 | -0.16 | FZ |
| 5 | 12 | -18.5 | -20.27 | 0.05 | 0 | 0 | 38.6 | MZ |
| 5 | 13 | 3.59 | 3.95 | -0.87 | 0 | 0.02 | -7.37 | MZ |
| 5 | 14 | -0.62 | -21.04 | 0.01 | 0 | 0 | 0.93 | FY |
| 6 | 1 | 0.17 | 18.52 | -0.02 | 0 | 0 | -0.09 | FY |
| 6 | 2 | -1.29 | 42.21 | -0.03 | 0 | 0 | 1.15 | FY |
| 6 | 4 | 0.06 | 10.34 | 0.01 | 0 | 0 | 0.09 | FY |
| 6 | 5 | -2.36 | 0.01 | -1.24 | 0 | 0 | 3.89 | MZ |
| 6 | 7 | -0.12 | 0.13 | -0.07 | 0 | 0 | 0.27 | MZ |
| 6 | 8 | -29.94 | 32.04 | -0.03 | 0 | 0 | 60.65 | MZ |
| 6 | 9 | 27.68 | -29.15 | 0.03 | 0 | 0 | -55.75 | MZ |
| 6 | 10 | -0.1 | 0.39 | -1.38 | 0 | -0.05 | 0.19 | FZ |
| 6 | 11 | 0.1 | -0.39 | 1.38 | 0 | 0.05 | -0.19 | FZ |
| 6 | 12 | -18.58 | 20.38 | -0.08 | 0 | -0.01 | 38.7 | MZ |
| 6 | 13 | 3.64 | -4.41 | 1.01 | 0 | 0.46 | -7.44 | MZ |
| 6 | 14 | 0.18 | -17.68 | 0 | 0 | 0 | 0.08 | FY |
| 7 | 1 | -0.12 | 46.68 | -0.03 | 0 | 0 | 0.23 | FY |
| 7 | 2 | 1.25 | 33.97 | -0.03 | 0 | 0 | -1.25 | FY |
| 7 | 4 | -0.01 | 0.94 | 0 | 0 | 0 | 0.02 | FY |
| 7 | 5 | 1.88 | 0.02 | -1.34 | 0 | 0 | -3.45 | MZ |
| 7 | 7 | -0.02 | 0 | -0.09 | 0 | 0 | 0.04 | FZ |
| 7 | 8 | -11.15 | -6.55 | 0.04 | 0 | 0 | 20.22 | MZ |
| 7 | 9 | 10.93 | 6.38 | -0.04 | 0 | 0 | -19.73 | MZ |
| 7 | 10 | 0.06 | 0.29 | -1.34 | 0 | 0.02 | -0.11 | FZ |
| 7 | 11 | -0.06 | -0.29 | 1.34 | 0 | -0.02 | 0.11 | FZ |
| 7 | 12 | -8.8 | -8.58 | 0.05 | 0 | 0 | 18.21 | MZ |
| 7 | 13 | 1.19 | 3.07 | -0.74 | 0 | 0 | -2.48 | FY |
| 7 | 14 | -0.38 | -12.8 | 0.01 | 0 | 0 | 0.37 | FY |
| 8 | 1 | -0.26 | 8.19 | -0.02 | 0 | 0 | 0.38 | FY |
| 8 | 2 | -1.33 | 33.57 | -0.03 | 0 | 0 | 1.42 | FY |
| 8 | 4 | -0.01 | 0.64 | 0.01 | 0 | 0 | 0.02 | FY |
| 8 | 5 | -1.85 | -0.01 | -2.07 | 0 | 0 | 3.39 | MZ |
| 8 | 7 | -0.02 | 0.04 | -0.07 | 0 | 0 | 0.04 | FZ |
| 8 | 8 | -11 | 6.75 | -0.04 | 0 | 0 | 20.05 | MZ |
| 8 | 9 | 10.77 | -6.56 | 0.04 | 0 | 0 | -19.56 | MZ |
| 8 | 10 | 0.03 | 0.06 | -1.37 | 0 | -0.02 | -0.09 | FZ |
| 8 | 11 | -0.03 | -0.06 | 1.37 | 0 | 0.02 | 0.09 | FZ |
| 8 | 12 | -8.8 | 8.43 | -0.08 | 0 | 0 | 18.21 | MZ |
| 8 | 13 | 1.19 | -1.5 | 0.93 | 0 | 0 | -2.48 | MZ |
| 8 | 14 | 0.43 | -12.68 | 0 | 0 | 0 | -0.48 | FY |
| 74 | 1 | 0.11 | 14.87 | 1.45 | 0 | 0 | -0.11 | FY |
| 74 | 2 | 3.38 | 87.51 | 1.82 | 0 | 0 | -4.72 | FY |
| 74 | 4 | 0 | 0.02 | 0.02 | 0 | 0 | 0 | FY |
| 74 | 5 | 3.09 | -0.07 | 2 | 0 | 0 | -5.72 | MZ |
| 74 | 7 | -6.74 | -26.65 | -5.99 | 0 | 0 | 16.06 | FY |
| 74 | 8 | -31.44 | -53.89 | -4.5 | 0 | 0 | 68.29 | MZ |
| 74 | 9 | 31.44 | 53.22 | 4.06 | 0 | 0 | -68.29 | MZ |
| 74 | 10 | 0 | -47.99 | -31.13 | 0 | 0.01 | 0 | FY |
| 74 | 11 | 0 | 47.99 | 31.13 | 0 | -0.01 | 0 | FY |
| 74 | 12 | -60.23 | -87.91 | -3.23 | 0 | 0 | 133.98 | MZ |
| 74 | 13 | 0.1 | 103.3 | 68.06 | 0 | 0 | -0.15 | FY |
| 74 | 14 | -10.67 | -32.01 | -0.57 | 0 | 0 | 22.77 | FY |
| 77 | 1 | -0.11 | 13.7 | 0.66 | 0 | 0 | 0.11 | FY |
| 77 | 2 | -3.38 | 106.66 | 1.59 | 0 | 0 | 1.92 | FY |
| 77 | 4 | 0 | -0.03 | -0.02 | 0 | 0 | 0 | FY |
| 77 | 5 | -3.09 | 0.04 | 3.22 | 0 | 0 | 5.72 | MZ |
| 77 | 7 | -6.73 | 7.8 | -3.18 | 0 | 0 | 16.05 | MZ |
| 77 | 8 | -31.43 | 53.87 | 4.52 | 0 | 0 | 68.28 | MZ |
| 77 | 9 | 31.43 | -53.21 | -4.08 | 0 | 0 | -68.28 | MZ |
| 77 | 10 | 0 | -48.12 | -31.47 | 0 | -0.01 | 0 | FY |
| 77 | 11 | 0 | 48.12 | 31.47 | 0 | 0.01 | 0 | FY |
| 77 | 12 | -60.3 | 88.14 | 4.24 | 0 | 0 | 134.08 | MZ |
| 77 | 13 | 0.1 | -94.07 | -63.51 | 0 | 0 | -0.15 | FY |
| 77 | 14 | -9.24 | -14.9 | -1.06 | 0 | 0 | 21.38 | MZ |

Data Entry

STAAD SPACE PL-N-01-V08

START JOB INFORMATION

JOB NAME PLATAFORMA LADO NORTE TV

JOB NO MC PLATAFORMA TV

JOB REV 0

ENGINEER NAME RM

CHECKER NAME AR

ENGINEER DATE 7/16/2024

END JOB INFORMATION

SET NL 25

INPUT WIDTH 79

UNIT METER KN

JOINT COORDINATES

10 1.96995 5.2 0.449858; 11 1.96995 5.2 1.59885; 12 1.96995 5.2 3.92285;

13 1.96995 5.2 7.32286; 14 1.96995 5.2 9.33286; 15 1.96995 5.2 12.1029;

16 2.749 1.79999 12.1029; 17 3.524 5.2 1.59885; 18 3.524 5.2 3.92285;

19 3.524 5.2 7.32286; 21 3.524 5.2 9.33286; 23 3.524 5.2 12.1029;

27 4.974 5.2 10.4899; 28 4.974 5.2 12.1029; 29 5.824 5.2 7.32286;

30 5.824 5.2 9.33286; 70 3.524 5.2 10.4899; 71 3.524 5.2 8.48286;

72 5.824 5.2 8.48286; 78 5.824 1.79999 9.33286; 110 3.524 5.2 0.449858;

111 3.284 1.79999 1.59885; 113 3.524 1.79999 7.56286; 114 2.749 5.2 12.1029;

117 1.96995 5.2 2.40285; 118 3.524 5.2 2.40285; 120 3.284 4.5 1.59885;

123 2.749 4.4 12.1029; 124 3.524 3.65 7.56286; 137 1.96995 5.2 6.36786;

138 3.524 5.2 6.36786; 144 3.524 5.2 5.42286; 145 3.524 6.65 5.42286;

152 2.824 1.79999 5.42286; 154 2.824 4.5 5.42286; 155 3.524 5.2 3.22286;

156 3.524 5.2 4.62285; 157 1.96995 5.2 10.4899; 158 1.96995 5.2 11.2964;

159 3.524 5.2 11.2964; 160 4.974 5.2 11.2964; 161 2.749 5.2 11.2964;

162 3.524 4.5 7.56286; 164 3.524 5.2 8.26286; 166 3.524 5.2 6.86287;

167 3.524 5.2 7.56286; 168 1.96995 5.2 7.56286; 169 3.284 5.2 1.59885;

170 3.284 5.2 0.449858; 171 3.284 5.2 2.40285; 172 3.284 3.65 1.59885;

173 10.1 5.2 7.74986; 174 10.1 5.2 6.89986; 175 10.1 5.2 10.4499;

176 10.1 5.2 12.2499; 177 10.85 5.2 7.74986; 178 10.85 5.2 10.4499;

179 11.5 5.2 7.74986; 180 11.5 5.2 10.4499; 181 12.3 5.2 6.89986;

182 12.3 5.2 12.2499; 183 11.5 6.5 7.74986; 184 11.5 6.5 10.4499;

185 11.5 6.5 9.09988; 186 12.3 5.2 7.74986; 187 12.3 5.2 10.4499;

188 12.3 6.5 7.74986; 189 12.3 6.5 10.4499; 190 12.3 1.79999 13.4389;

191 12.3 5.2 13.4389; 192 12.3 5.2 4.04985; 193 12.3 5.2 2.99984;

194 12.3 5.2 6.14986; 195 12.3 6.5 9.09988; 196 12.3 5.2 1.06985;

197 13.84 5.2 1.06985; 198 12.3 5.2 0.449858; 199 13.84 5.2 7.74986;

200 13.84 5.2 10.4499; 201 13.84 5.2 4.04985; 202 13.84 5.2 6.14986;

203 13.84 5.2 12.2499; 204 13.84 5.2 0.449858; 205 13.84 5.2 2.99984;

206 13.84 5.2 6.89986; 207 10.1 1.79999 7.74986; 208 10.1 5.2 13.4389;

209 12.3 1.79999 1.94985; 210 12.3 3.65 1.94985; 211 12.3 5.2 1.94985;

212 12.3 4.4 1.94985; 213 13.84 5.2 1.94985; 214 12.3 5.2 5.09986;

215 13.84 5.2 5.09986; 216 12.3 1.79999 6.14986; 217 12.3 4.4 6.14986;

218 10.1 1.79999 13.4389; 219 3.524 5.2 1.06985; 220 6.104 5.2 1.06985;

221 6.104 5.2 0.449858; 222 10.23 5.2 1.06985; 223 10.23 5.2 0.449858;

224 8.167 5.2 1.06985; 225 8.167 5.2 0.449858; 228 1.96995 5.2 8.48286;

229 1.96995 5.2 4.62285; 230 3.774 6.65 5.42286; 231 3.274 6.65 5.42286;

232 3.524 6.14 5.42286; 233 2.74697 5.2 4.62285; 234 1.96995 5.2 5.42286;

235 2.74697 5.2 6.36786; 236 2.824 5.2 3.92285; 245 2.824 5.2 6.36786;

246 2.824 5.2 5.42286; 248 2.824 5.2 4.62285; 249 3.524 1.79999 3.92285;

MEMBER INCIDENCES

15 11 10; 17 13 137; 18 14 228; 19 15 158; 20 11 169; 21 12 236; 22 13 19;

23 14 21; 24 15 114; 26 10 170; 27 16 123; 28 18 155; 29 19 166; 31 21 71;

33 23 159; 37 23 28; 38 19 29; 39 21 30; 40 28 160; 41 27 30; 42 30 72;

101 70 21; 102 70 27; 103 71 164; 104 72 29; 105 71 72; 116 157 21; 121 27 21;

122 78 30; 163 17 219; 164 111 172; 166 113 124; 167 114 23; 170 117 11;

171 118 17; 172 117 171; 173 172 120; 174 120 169; 175 172 11; 176 120 170;

180 123 114; 181 123 15; 183 124 162; 185 124 168; 204 137 234; 205 138 144;

206 137 235; 213 144 232; 242 152 154; 246 120 171; 247 154 246; 248 155 118;

249 154 248; 250 156 18; 251 154 245; 252 157 14; 253 157 70; 254 123 23;

255 158 157; 256 159 70; 257 160 27; 258 159 160; 259 158 161; 260 161 159;

261 114 161; 262 162 167; 263 166 138; 264 162 166; 265 164 167; 266 162 164;

269 167 19; 270 168 13; 271 169 17; 272 170 110; 273 171 118; 274 173 174;

275 175 173; 276 176 175; 277 173 177; 278 175 178; 279 178 177; 280 177 179;

281 178 180; 282 174 181; 283 176 182; 284 179 183; 285 180 184; 286 184 185;

287 179 186; 288 180 187; 289 183 188; 290 184 189; 291 190 191; 292 192 193;

293 181 194; 294 186 181; 295 182 187; 296 186 188; 297 187 189; 298 189 195;

299 196 197; 300 196 198; 301 186 199; 302 187 200; 303 192 201; 304 194 202;

305 182 203; 306 198 204; 307 200 199; 308 197 204; 309 201 205; 310 206 202;

311 199 206; 312 203 200; 313 175 182; 314 203 187; 315 185 183; 316 195 188;

317 185 195; 318 183 195; 319 184 195; 320 207 173; 321 208 191; 322 208 176;

323 191 182; 324 209 210; 325 211 196; 326 210 212; 327 213 197; 328 210 213;

329 211 213; 330 194 214; 331 202 215; 332 214 215; 333 181 206; 334 214 192;

335 215 201; 336 212 211; 337 212 196; 338 208 182; 339 216 217; 340 193 211;

341 205 213; 342 193 205; 343 218 208; 344 212 193; 345 217 194; 346 217 214;

347 217 181; 348 219 110; 349 219 220; 350 110 221; 351 222 196; 352 223 198;

353 222 223; 354 224 222; 355 225 223; 356 224 225; 357 220 224; 358 221 225;

359 220 221; 361 144 156; 363 228 168; 364 228 71; 365 123 161; 366 229 12;

367 229 233; 368 145 230; 369 231 145; 370 169 10; 371 211 197; 372 232 145;

373 138 232; 374 233 248; 380 18 233; 381 12 233; 382 234 229; 383 234 246;

384 144 233; 385 234 233; 386 235 245; 387 144 235; 388 234 235; 389 236 18;

390 235 19; 391 235 13; 395 245 138; 396 246 144; 397 248 156; 398 249 18;

399 154 144; 400 154 234;

START GROUP DEFINITION

MEMBER

FLOOR

_PLAT_106400 15 17 TO 24 26 28 29 31 33 37 TO 42 101 TO 105 163 167 -

170 TO 172 204 TO 206 248 250 252 253 255 TO 261 263 265 269 TO 283 287 288 -

292 TO 295 299 TO 306 308 TO 312 321 TO 323 325 327 329 TO 335 340 TO 342 -

348 TO 359 361 363 364 366 367 374 382 383 386 389 395 TO 397

_PLAT_107700 286 289 290 298 315 TO 317

JOINT

_3D_NODES 16 18 30 78 111 113 114 120 123 124 152 154 162 167 169 172 173 -

190 191 194 207 TO 212 216 TO 218 246 249

END GROUP DEFINITION

DEFINE MATERIAL START

ISOTROPIC ASTM_A992_GR.50

E 2.05e+08

POISSON 0.3

DENSITY 76.8195

ALPHA 1.2e-05

DAMP 0.03

G 7.88462e+07

TYPE STEEL

STRENGTH FY 344213 FU 448164 RY 1.1 RT 1.1

*

ISOTROPIC STEEL_36_KSI

E 1.99947e+08

POISSON 0.3

DENSITY 76.8191

ALPHA 6.5e-06

DAMP 0.03

G 7.7221e+07

TYPE STEEL

STRENGTH FY 248210 FU 399894 RY 1.5 RT 1.2

*

ISOTROPIC STEEL

E 2.09042e+10

POISSON 0.3

DENSITY 7833.41

ALPHA 1.2e-05

DAMP 0.03

G 8.04007e+09

TYPE STEEL

STRENGTH FY 2.58192e+07 FU 4.1584e+07 RY 1.5 RT 1.2

ISOTROPIC STEEL_50_KSI

E 1.99948e+08

POISSON 0.3

DENSITY 76.8195

ALPHA 1.17e-05

DAMP 0.03

G 7.72213e+07

TYPE STEEL

STRENGTH FY 344738 FU 427475 RY 1.5 RT 1.2

END DEFINE MATERIAL

MEMBER PROPERTY AMERICAN

20 TO 24 26 37 TO 39 102 105 167 172 206 253 258 TO 260 271 TO 273 277 278 -

280 TO 283 287 288 299 301 TO 306 321 329 332 333 342 364 367 374 386 389 -

395 397 TABLE ST W12X22

15 17 TO 19 31 33 40 TO 42 101 103 104 170 204 252 255 TO 257 261 265 269 -

270 274 TO 276 279 292 TO 295 300 307 TO 312 322 323 325 327 330 331 334 -

335 340 341 363 366 382 TABLE ST W12X35

27 122 164 166 173 174 180 183 242 247 262 291 320 324 326 336 339 343 345 -

398 TABLE ST W10X112

286 289 290 298 315 TO 317 368 369 TABLE ST W10X22

116 121 175 176 181 185 246 249 251 254 264 266 313 314 328 337 338 344 346 -

347 365 370 371 373 380 381 384 385 387 388 390 391 399 400 TABLE T W10X30

28 29 163 171 205 213 248 250 263 348 361 372 383 396 TABLE ST W12X53

284 285 296 297 TABLE ST W8X31

318 319 TABLE ST L30303

349 TO 359 TABLE ST W10X39

CONSTANTS

BETA 90 MEMB 175 176 181 185 246 249 251 254 264 266 328 337 344 346 347 365 -

373 399 400

*BETA 90 MEMB 27 69 122 144 164 TO 166 168 173 174 177 180 183 186 198 199 201

MATERIAL ASTM_A992_GR.50 MEMB 15 17 TO 24 26 TO 29 31 33 37 TO 42 101 TO 105 -

116 121 122 163 164 166 167 170 TO 176 180 181 183 185 204 TO 206 213 242 -

246 TO 266 269 TO 317 320 TO 359 361 363 TO 374 380 TO 391 395 TO 400

MATERIAL STEEL_36_KSI MEMB 318 319

SUPPORTS

16 78 111 113 152 190 207 209 216 218 249 FIXED

*18 47 132 138 142 PINNED

MEMBER RELEASE

122 174 180 247 262 291 320 336 343 345 351 352 398 END MY MZ

17 29 293 310 349 350 START MY MZ

MEMBER TRUSS

116 121 175 176 181 185 246 249 251 254 264 266 313 314 318 319 328 337 338 -

344 346 347 365 370 371 373 380 381 384 385 387 388 390 391 399 400

DEFINE WIND LOAD

TYPE 1 WIND 1

INT 2.56 2.56 2.71 2.83 2.95 3.13 HEIG  0  4.6  6.1  7.6  9.1  12

CUT OFF FREQUENCY 3600

CUT OFF MODE SHAPE 80

DEFINE REFERENCE LOADS

LOAD R1 LOADTYPE Mass  TITLE MASAS

SELFWEIGHT X 1.1 LIST ALL

ONEWAY LOAD

_PLAT_106400 ONE 1.9 GX TOWARDS 24

SELFWEIGHT Z 1.1 LIST ALL

ONEWAY LOAD

_PLAT_106400 ONE 1.9 GZ TOWARDS 24

JOINT LOAD

145 FX 66.8

145 FZ 66.8

ONEWAY LOAD

_PLAT_107700 ONE 1.9 GX TOWARDS 286

_PLAT_107700 ONE 1.9 GZ TOWARDS 286

*LOAD R2 LOADTYPE Mass  TITLE MASAS DIAFRAGMA

*SELFWEIGHT Y -1.1

*oneway load

*_PLAT_106400 ONE -1.9 GY TOWARDS 44

END DEFINE REFERENCE LOADS

*FLOOR DIAPHRAGM

*DIA 1 TYPE RIG HEI 5.2

*CUT OFF MODE SHAPE 57

LOAD 1 LOADTYPE Dead  TITLE LOAD TYPE DEAD TITLE PESO PROPIO (D)

******PESO PROPIO ESTRUCTURA******

SELFWEIGHT Y -1.1 LIST ALL

ONEWAY LOAD

_PLAT_106400 ONE -1.9 GY TOWARDS 24

_PLAT_107700 ONE -1.9 GY TOWARDS 286

LOAD 2 LOADTYPE Dead  TITLE LOAD TYPE DEAD TITLE PESO T.OPERACION (OP)

JOINT LOAD

145 FY -66.8

LOAD 3 LOAD TYPE DEAD TITLE PESO CARGA PRUEBA HIDROSTATICA (H)

LOAD 4 LOADTYPE Live  TITLE LOAD TYPE LIVE TITLE CARGA VIVA

ONEWAY LOAD

_PLAT_106400 ONE -4 GY TOWARDS 26

ONEWAY LOAD

_PLAT_107700 ONE -4 GY TOWARDS 286

LOAD 5 LOADTYPE Temperature  TITLE CARGA TERMICA ESTRUCTURA (TST)

TEMPERATURE LOAD

15 17 TO 24 26 TO 29 31 33 37 TO 42 101 TO 105 116 121 122 163 164 166 167 -

170 TO 176 180 181 183 185 204 TO 206 213 242 246 TO 266 269 TO 359 361 363 -

364 TO 374 380 TO 391 395 TO 397 TEMP 27.7

LOAD 6 LOADTYPE Dead  TITLE FUERZAS DE FRICCION TUBERIAS (TT)

LOAD 7 LOADTYPE Dead  TITLE FUERZAS DE ANCLAJE TUBERIAS (TS)

JOINT LOAD

145 FX 4.17 FZ 2.29

LOAD 8 LOADTYPE Wind  TITLE VIENTO DIRECCION X

WIND LOAD X 1 TYPE 1 XR -100 100 YR -100 100 ZR -100 100 OPEN

LOAD 9 LOADTYPE Wind  TITLE VIENTO DIRECCION -X

WIND LOAD -X -1 TYPE 1 XR -100 100 YR -100 100 ZR -100 100 OPEN

LOAD 10 LOADTYPE Wind  TITLE VIENTO DIRECCION Z

WIND LOAD Z 1 TYPE 1 XR -100 100 YR -100 100 ZR -100 100 OPEN

LOAD 11 LOADTYPE Wind  TITLE VIENTO DIRECCION -Z

WIND LOAD -Z -1 TYPE 1 XR -100 100 YR -100 100 ZR -100 100 OPEN

LOAD 12 LOADTYPE None  TITLE SISMO DIR X

SPECTRUM CQC X 1.69 ACC SCALE 9.81 DAMP 0.05 LIN DOMINANT 0 SAVE

0 0.387; 0.01 0.43; 0.02 0.474; 0.03 0.518; 0.04 0.561; 0.05 0.605; 0.06 0.649;

0.07 0.693; 0.08 0.736; 0.09 0.78; 0.1 0.824; 0.11 0.868; 0.12 0.911;

0.13 0.955; 0.14 0.966; 0.15 0.966; 0.16 0.966; 0.17 0.966; 0.18 0.966;

0.19 0.966; 0.2 0.966; 0.21 0.966; 0.22 0.966; 0.23 0.966; 0.24 0.966;

0.25 0.966; 0.26 0.966; 0.27 0.966; 0.28 0.966; 0.29 0.966; 0.3 0.966;

0.31 0.966; 0.32 0.966; 0.33 0.966; 0.34 0.966; 0.35 0.966; 0.36 0.966;

0.37 0.966; 0.38 0.966; 0.39 0.966; 0.4 0.966; 0.41 0.966; 0.42 0.966;

0.43 0.966; 0.44 0.966; 0.45 0.966; 0.46 0.966; 0.47 0.966; 0.48 0.966;

0.49 0.966; 0.5 0.966; 0.51 0.966; 0.52 0.966; 0.53 0.966; 0.54 0.966;

0.55 0.966; 0.56 0.966; 0.57 0.966; 0.58 0.966; 0.59 0.966; 0.6 0.966;

0.61 0.966; 0.62 0.966; 0.63 0.966; 0.64 0.966; 0.65 0.966; 0.66 0.966;

0.67 0.956; 0.68 0.942; 0.69 0.928; 0.7 0.915; 0.71 0.902; 0.72 0.89;

0.73 0.878; 0.74 0.866; 0.75 0.854; 0.76 0.843; 0.77 0.832; 0.78 0.821;

0.79 0.811; 0.8 0.801; 0.81 0.791; 0.82 0.781; 0.83 0.772; 0.84 0.763;

0.85 0.754; 0.86 0.745; 0.87 0.736; 0.88 0.728; 0.89 0.72; 0.9 0.712;

0.91 0.704; 0.92 0.696; 0.93 0.689; 0.94 0.682; 0.95 0.674; 0.96 0.667;

0.97 0.66; 0.98 0.654; 0.99 0.647; 1 0.641; 1.01 0.634; 1.02 0.628; 1.03 0.622;

1.04 0.616; 1.05 0.61; 1.06 0.604; 1.07 0.599; 1.08 0.593; 1.09 0.588;

1.1 0.582; 1.11 0.577; 1.12 0.572; 1.13 0.567; 1.14 0.562; 1.15 0.557;

1.16 0.552; 1.17 0.548; 1.18 0.543; 1.19 0.538; 1.2 0.534; 1.21 0.529;

1.22 0.525; 1.23 0.521; 1.24 0.517; 1.25 0.513; 1.26 0.508; 1.27 0.504;

1.28 0.501; 1.29 0.497; 1.3 0.493; 1.31 0.489; 1.32 0.485; 1.33 0.482;

1.34 0.478; 1.35 0.475; 1.36 0.471; 1.37 0.468; 1.38 0.464; 1.39 0.461;

1.4 0.458; 1.41 0.454; 1.42 0.451; 1.43 0.448; 1.44 0.445; 1.45 0.442;

1.46 0.439; 1.47 0.436; 1.48 0.433; 1.49 0.43; 1.5 0.427; 1.51 0.424;

1.52 0.421; 1.53 0.419; 1.54 0.416; 1.55 0.413; 1.56 0.411; 1.57 0.408;

1.58 0.405; 1.59 0.403; 1.6 0.4; 1.61 0.398; 1.62 0.395; 1.63 0.393; 1.64 0.391;

1.65 0.388; 1.66 0.386; 1.67 0.384; 1.68 0.381; 1.69 0.379; 1.7 0.377;

1.71 0.375; 1.72 0.372; 1.73 0.37; 1.74 0.368; 1.75 0.366; 1.76 0.364;

1.77 0.362; 1.78 0.36; 1.79 0.358; 1.8 0.356; 1.81 0.354; 1.82 0.352; 1.83 0.35;

1.84 0.348; 1.85 0.346; 1.86 0.344; 1.87 0.343; 1.88 0.341; 1.89 0.339;

1.9 0.337; 1.91 0.335; 1.92 0.334; 1.93 0.332; 1.94 0.33; 1.95 0.329;

1.96 0.327; 1.97 0.325; 1.98 0.324; 1.99 0.322; 2 0.32; 2.01 0.319; 2.02 0.317;

2.03 0.316; 2.04 0.314; 2.05 0.313; 2.06 0.311; 2.07 0.309; 2.08 0.308;

2.09 0.307; 2.1 0.305; 2.11 0.304; 2.12 0.302; 2.13 0.301; 2.14 0.299;

2.15 0.298; 2.16 0.297; 2.17 0.295; 2.18 0.294; 2.19 0.293; 2.2 0.291;

2.21 0.29; 2.22 0.289; 2.23 0.287; 2.24 0.286; 2.25 0.285; 2.26 0.283;

2.27 0.282; 2.28 0.281; 2.29 0.28; 2.3 0.279; 2.31 0.277; 2.32 0.276;

2.33 0.275; 2.34 0.274; 2.35 0.273; 2.36 0.271; 2.37 0.27; 2.38 0.269;

2.39 0.268; 2.4 0.267; 2.41 0.266; 2.42 0.265; 2.43 0.264; 2.44 0.263;

2.45 0.261; 2.46 0.26; 2.47 0.259; 2.48 0.258; 2.49 0.257; 2.5 0.256;

2.51 0.255; 2.52 0.254; 2.53 0.253; 2.54 0.252; 2.55 0.251; 2.56 0.25;

2.57 0.249; 2.58 0.248; 2.59 0.247; 2.6 0.246; 2.61 0.245; 2.62 0.245;

2.63 0.244; 2.64 0.243; 2.65 0.242; 2.66 0.241; 2.67 0.24; 2.68 0.239;

2.69 0.238; 2.7 0.237; 2.71 0.236; 2.72 0.236; 2.73 0.235; 2.74 0.234;

2.75 0.233; 2.76 0.232; 2.77 0.231; 2.78 0.23; 2.79 0.23; 2.8 0.229; 2.81 0.228;

2.82 0.227; 2.83 0.226; 2.84 0.226; 2.85 0.225; 2.86 0.224; 2.87 0.223;

2.88 0.222; 2.89 0.222; 2.9 0.221; 2.91 0.22; 2.92 0.219; 2.93 0.219;

2.94 0.218; 2.95 0.217; 2.96 0.216; 2.97 0.216; 2.98 0.215; 2.99 0.214; 3 0.214;

3.01 0.213; 3.02 0.212; 3.03 0.211; 3.04 0.211; 3.05 0.21; 3.06 0.209;

3.07 0.209; 3.08 0.208; 3.09 0.207; 3.1 0.207; 3.11 0.206; 3.12 0.205;

3.13 0.205; 3.14 0.204; 3.15 0.203; 3.16 0.203; 3.17 0.202; 3.18 0.201;

3.19 0.201; 3.2 0.2; 3.21 0.2; 3.22 0.199; 3.23 0.198; 3.24 0.198; 3.25 0.197;

3.26 0.197; 3.27 0.196; 3.28 0.195; 3.29 0.195; 3.3 0.194; 3.31 0.194;

3.32 0.193; 3.33 0.192; 3.34 0.192; 3.35 0.191; 3.36 0.191; 3.37 0.19;

3.38 0.19; 3.39 0.189; 3.4 0.188; 3.41 0.188; 3.42 0.187; 3.43 0.187;

3.44 0.186; 3.45 0.186; 3.46 0.185; 3.47 0.185; 3.48 0.184; 3.49 0.184;

3.5 0.183; 3.51 0.183; 3.52 0.182; 3.53 0.181; 3.54 0.181; 3.55 0.18; 3.56 0.18;

3.57 0.179; 3.58 0.179; 3.59 0.178; 3.6 0.178; 3.61 0.177; 3.62 0.177;

3.63 0.176; 3.64 0.176; 3.65 0.176; 3.66 0.175; 3.67 0.175; 3.68 0.174;

3.69 0.174; 3.7 0.173; 3.71 0.173; 3.72 0.172; 3.73 0.172; 3.74 0.171;

3.75 0.171; 3.76 0.17; 3.77 0.17; 3.78 0.169; 3.79 0.169; 3.8 0.169; 3.81 0.168;

3.82 0.168; 3.83 0.167; 3.84 0.167; 3.85 0.166; 3.86 0.166; 3.87 0.166;

3.88 0.165; 3.89 0.165; 3.9 0.164; 3.91 0.164; 3.92 0.163; 3.93 0.163;

3.94 0.163; 3.95 0.162; 3.96 0.162; 3.97 0.161; 3.98 0.161; 3.99 0.161; 4 0.16;

4.01 0.16; 4.02 0.159; 4.03 0.159; 4.04 0.159; 4.05 0.158; 4.06 0.158;

4.07 0.157; 4.08 0.157; 4.09 0.157; 4.1 0.156; 4.11 0.156; 4.12 0.155;

4.13 0.155; 4.14 0.155; 4.15 0.154; 4.16 0.154; 4.17 0.154; 4.18 0.153;

4.19 0.153; 4.2 0.153; 4.21 0.152; 4.22 0.152; 4.23 0.151; 4.24 0.151;

4.25 0.151; 4.26 0.15; 4.27 0.15; 4.28 0.15; 4.29 0.149; 4.3 0.149; 4.31 0.149;

4.32 0.148; 4.33 0.148; 4.34 0.148; 4.35 0.147; 4.36 0.147; 4.37 0.147;

4.38 0.146; 4.39 0.146; 4.4 0.146; 4.41 0.145; 4.42 0.145; 4.43 0.145;

4.44 0.144; 4.45 0.144; 4.46 0.144; 4.47 0.143; 4.48 0.143; 4.49 0.143;

4.5 0.142; 4.51 0.142; 4.52 0.142; 4.53 0.141; 4.54 0.141; 4.55 0.141;

4.56 0.14; 4.57 0.14; 4.58 0.14; 4.59 0.14; 4.6 0.139; 4.61 0.139; 4.62 0.139;

4.63 0.138; 4.64 0.138; 4.65 0.138; 4.66 0.137; 4.67 0.137; 4.68 0.137;

4.69 0.137; 4.7 0.136; 4.71 0.136; 4.72 0.136; 4.73 0.135; 4.74 0.135;

4.75 0.135; 4.76 0.135; 4.77 0.134; 4.78 0.134; 4.79 0.134; 4.8 0.133;

4.81 0.133; 4.82 0.133; 4.83 0.133; 4.84 0.132; 4.85 0.132; 4.86 0.132;

4.87 0.132; 4.88 0.131; 4.89 0.131; 4.9 0.131; 4.91 0.13; 4.92 0.13; 4.93 0.13;

4.94 0.13; 4.95 0.129; 4.96 0.129; 4.97 0.129; 4.98 0.129; 4.99 0.128;

LOAD 13 LOADTYPE None  TITLE SISMO DIR Z

SPECTRUM CQC Z 1.19 ACC SCALE 9.81 DAMP 0.05 LIN DOMINANT 0

0 0.387; 0.01 0.43; 0.02 0.474; 0.03 0.518; 0.04 0.561; 0.05 0.605; 0.06 0.649;

0.07 0.693; 0.08 0.736; 0.09 0.78; 0.1 0.824; 0.11 0.868; 0.12 0.911;

0.13 0.955; 0.14 0.966; 0.15 0.966; 0.16 0.966; 0.17 0.966; 0.18 0.966;

0.19 0.966; 0.2 0.966; 0.21 0.966; 0.22 0.966; 0.23 0.966; 0.24 0.966;

0.25 0.966; 0.26 0.966; 0.27 0.966; 0.28 0.966; 0.29 0.966; 0.3 0.966;

0.31 0.966; 0.32 0.966; 0.33 0.966; 0.34 0.966; 0.35 0.966; 0.36 0.966;

0.37 0.966; 0.38 0.966; 0.39 0.966; 0.4 0.966; 0.41 0.966; 0.42 0.966;

0.43 0.966; 0.44 0.966; 0.45 0.966; 0.46 0.966; 0.47 0.966; 0.48 0.966;

0.49 0.966; 0.5 0.966; 0.51 0.966; 0.52 0.966; 0.53 0.966; 0.54 0.966;

0.55 0.966; 0.56 0.966; 0.57 0.966; 0.58 0.966; 0.59 0.966; 0.6 0.966;

0.61 0.966; 0.62 0.966; 0.63 0.966; 0.64 0.966; 0.65 0.966; 0.66 0.966;

0.67 0.956; 0.68 0.942; 0.69 0.928; 0.7 0.915; 0.71 0.902; 0.72 0.89;

0.73 0.878; 0.74 0.866; 0.75 0.854; 0.76 0.843; 0.77 0.832; 0.78 0.821;

0.79 0.811; 0.8 0.801; 0.81 0.791; 0.82 0.781; 0.83 0.772; 0.84 0.763;

0.85 0.754; 0.86 0.745; 0.87 0.736; 0.88 0.728; 0.89 0.72; 0.9 0.712;

0.91 0.704; 0.92 0.696; 0.93 0.689; 0.94 0.682; 0.95 0.674; 0.96 0.667;

0.97 0.66; 0.98 0.654; 0.99 0.647; 1 0.641; 1.01 0.634; 1.02 0.628; 1.03 0.622;

1.04 0.616; 1.05 0.61; 1.06 0.604; 1.07 0.599; 1.08 0.593; 1.09 0.588;

1.1 0.582; 1.11 0.577; 1.12 0.572; 1.13 0.567; 1.14 0.562; 1.15 0.557;

1.16 0.552; 1.17 0.548; 1.18 0.543; 1.19 0.538; 1.2 0.534; 1.21 0.529;

1.22 0.525; 1.23 0.521; 1.24 0.517; 1.25 0.513; 1.26 0.508; 1.27 0.504;

1.28 0.501; 1.29 0.497; 1.3 0.493; 1.31 0.489; 1.32 0.485; 1.33 0.482;

1.34 0.478; 1.35 0.475; 1.36 0.471; 1.37 0.468; 1.38 0.464; 1.39 0.461;

1.4 0.458; 1.41 0.454; 1.42 0.451; 1.43 0.448; 1.44 0.445; 1.45 0.442;

1.46 0.439; 1.47 0.436; 1.48 0.433; 1.49 0.43; 1.5 0.427; 1.51 0.424;

1.52 0.421; 1.53 0.419; 1.54 0.416; 1.55 0.413; 1.56 0.411; 1.57 0.408;

1.58 0.405; 1.59 0.403; 1.6 0.4; 1.61 0.398; 1.62 0.395; 1.63 0.393; 1.64 0.391;

1.65 0.388; 1.66 0.386; 1.67 0.384; 1.68 0.381; 1.69 0.379; 1.7 0.377;

1.71 0.375; 1.72 0.372; 1.73 0.37; 1.74 0.368; 1.75 0.366; 1.76 0.364;

1.77 0.362; 1.78 0.36; 1.79 0.358; 1.8 0.356; 1.81 0.354; 1.82 0.352; 1.83 0.35;

1.84 0.348; 1.85 0.346; 1.86 0.344; 1.87 0.343; 1.88 0.341; 1.89 0.339;

1.9 0.337; 1.91 0.335; 1.92 0.334; 1.93 0.332; 1.94 0.33; 1.95 0.329;

1.96 0.327; 1.97 0.325; 1.98 0.324; 1.99 0.322; 2 0.32; 2.01 0.319; 2.02 0.317;

2.03 0.316; 2.04 0.314; 2.05 0.313; 2.06 0.311; 2.07 0.309; 2.08 0.308;

2.09 0.307; 2.1 0.305; 2.11 0.304; 2.12 0.302; 2.13 0.301; 2.14 0.299;

2.15 0.298; 2.16 0.297; 2.17 0.295; 2.18 0.294; 2.19 0.293; 2.2 0.291;

2.21 0.29; 2.22 0.289; 2.23 0.287; 2.24 0.286; 2.25 0.285; 2.26 0.283;

2.27 0.282; 2.28 0.281; 2.29 0.28; 2.3 0.279; 2.31 0.277; 2.32 0.276;

2.33 0.275; 2.34 0.274; 2.35 0.273; 2.36 0.271; 2.37 0.27; 2.38 0.269;

2.39 0.268; 2.4 0.267; 2.41 0.266; 2.42 0.265; 2.43 0.264; 2.44 0.263;

2.45 0.261; 2.46 0.26; 2.47 0.259; 2.48 0.258; 2.49 0.257; 2.5 0.256;

2.51 0.255; 2.52 0.254; 2.53 0.253; 2.54 0.252; 2.55 0.251; 2.56 0.25;

2.57 0.249; 2.58 0.248; 2.59 0.247; 2.6 0.246; 2.61 0.245; 2.62 0.245;

2.63 0.244; 2.64 0.243; 2.65 0.242; 2.66 0.241; 2.67 0.24; 2.68 0.239;

2.69 0.238; 2.7 0.237; 2.71 0.236; 2.72 0.236; 2.73 0.235; 2.74 0.234;

2.75 0.233; 2.76 0.232; 2.77 0.231; 2.78 0.23; 2.79 0.23; 2.8 0.229; 2.81 0.228;

2.82 0.227; 2.83 0.226; 2.84 0.226; 2.85 0.225; 2.86 0.224; 2.87 0.223;

2.88 0.222; 2.89 0.222; 2.9 0.221; 2.91 0.22; 2.92 0.219; 2.93 0.219;

2.94 0.218; 2.95 0.217; 2.96 0.216; 2.97 0.216; 2.98 0.215; 2.99 0.214; 3 0.214;

3.01 0.213; 3.02 0.212; 3.03 0.211; 3.04 0.211; 3.05 0.21; 3.06 0.209;

3.07 0.209; 3.08 0.208; 3.09 0.207; 3.1 0.207; 3.11 0.206; 3.12 0.205;

3.13 0.205; 3.14 0.204; 3.15 0.203; 3.16 0.203; 3.17 0.202; 3.18 0.201;

3.19 0.201; 3.2 0.2; 3.21 0.2; 3.22 0.199; 3.23 0.198; 3.24 0.198; 3.25 0.197;

3.26 0.197; 3.27 0.196; 3.28 0.195; 3.29 0.195; 3.3 0.194; 3.31 0.194;

3.32 0.193; 3.33 0.192; 3.34 0.192; 3.35 0.191; 3.36 0.191; 3.37 0.19;

3.38 0.19; 3.39 0.189; 3.4 0.188; 3.41 0.188; 3.42 0.187; 3.43 0.187;

3.44 0.186; 3.45 0.186; 3.46 0.185; 3.47 0.185; 3.48 0.184; 3.49 0.184;

3.5 0.183; 3.51 0.183; 3.52 0.182; 3.53 0.181; 3.54 0.181; 3.55 0.18; 3.56 0.18;

3.57 0.179; 3.58 0.179; 3.59 0.178; 3.6 0.178; 3.61 0.177; 3.62 0.177;

3.63 0.176; 3.64 0.176; 3.65 0.176; 3.66 0.175; 3.67 0.175; 3.68 0.174;

3.69 0.174; 3.7 0.173; 3.71 0.173; 3.72 0.172; 3.73 0.172; 3.74 0.171;

3.75 0.171; 3.76 0.17; 3.77 0.17; 3.78 0.169; 3.79 0.169; 3.8 0.169; 3.81 0.168;

3.82 0.168; 3.83 0.167; 3.84 0.167; 3.85 0.166; 3.86 0.166; 3.87 0.166;

3.88 0.165; 3.89 0.165; 3.9 0.164; 3.91 0.164; 3.92 0.163; 3.93 0.163;

3.94 0.163; 3.95 0.162; 3.96 0.162; 3.97 0.161; 3.98 0.161; 3.99 0.161; 4 0.16;

4.01 0.16; 4.02 0.159; 4.03 0.159; 4.04 0.159; 4.05 0.158; 4.06 0.158;

4.07 0.157; 4.08 0.157; 4.09 0.157; 4.1 0.156; 4.11 0.156; 4.12 0.155;

4.13 0.155; 4.14 0.155; 4.15 0.154; 4.16 0.154; 4.17 0.154; 4.18 0.153;

4.19 0.153; 4.2 0.153; 4.21 0.152; 4.22 0.152; 4.23 0.151; 4.24 0.151;

4.25 0.151; 4.26 0.15; 4.27 0.15; 4.28 0.15; 4.29 0.149; 4.3 0.149; 4.31 0.149;

4.32 0.148; 4.33 0.148; 4.34 0.148; 4.35 0.147; 4.36 0.147; 4.37 0.147;

4.38 0.146; 4.39 0.146; 4.4 0.146; 4.41 0.145; 4.42 0.145; 4.43 0.145;

4.44 0.144; 4.45 0.144; 4.46 0.144; 4.47 0.143; 4.48 0.143; 4.49 0.143;

4.5 0.142; 4.51 0.142; 4.52 0.142; 4.53 0.141; 4.54 0.141; 4.55 0.141;

4.56 0.14; 4.57 0.14; 4.58 0.14; 4.59 0.14; 4.6 0.139; 4.61 0.139; 4.62 0.139;

4.63 0.138; 4.64 0.138; 4.65 0.138; 4.66 0.137; 4.67 0.137; 4.68 0.137;

4.69 0.137; 4.7 0.136; 4.71 0.136; 4.72 0.136; 4.73 0.135; 4.74 0.135;

4.75 0.135; 4.76 0.135; 4.77 0.134; 4.78 0.134; 4.79 0.134; 4.8 0.133;

4.81 0.133; 4.82 0.133; 4.83 0.133; 4.84 0.132; 4.85 0.132; 4.86 0.132;

4.87 0.132; 4.88 0.131; 4.89 0.131; 4.9 0.131; 4.91 0.13; 4.92 0.13; 4.93 0.13;

4.94 0.13; 4.95 0.129; 4.96 0.129; 4.97 0.129; 4.98 0.129; 4.99 0.128;

LOAD 14 LOADTYPE None  TITLE SISMO DIR Y (VERTICAL)

REPEAT LOAD

1 -0.3 2 -0.3

************

**********************COMBINACIONES*************************

************

LOAD COMBINATION 200

1 1.0

LOAD COMB 201 D+OP

1 1.0 2 1.0

LOAD COMB 202 D+OP+L

1 1.0 2 1.0 4 1.0

LOAD COMB 203 D+OP+TST+TT+TS

1 1.0 2 1.0 5 1.0 6 1.0 7 1.0

LOAD COMB 204 D+OP+0.75(L+TST+TS+TT)

1 1.0 2 1.0 4 0.75 5 0.75 6 0.75 7 0.75

*

***************************************************************

LOAD COMB 205 D+OP+0.6WX

1 1.0 2 1.0 8 0.6

LOAD COMB 206 D+OP-0.6WX

1 1.0 2 1.0 9 0.6

*

LOAD COMB 207 D+OP+0.6WZ

1 1.0 2 1.0 10 0.6

LOAD COMB 208 D+OP-0.6WZ

1 1.0 2 1.0 11 0.6

*

***************************************************************

LOAD COMB 209 D+OP+0.75L+0.45WX

1 1.0 2 1.0 4 0.75 8 0.45

LOAD COMB 210 D+OP+0.75L-0.45WX

1 1.0 2 1.0 4 0.75 9 0.45

*

LOAD COMB 211 D+OP+0.75L+0.45WZ

1 1.0 2 1.0 4 1.75 10 0.45

LOAD COMB 212 D+OP+0.75L-0.45WZ

1 1.0 2 1.0 4 0.75 11 0.45

*

***************************************************************

LOAD COMB 213 D+OP+TST+TS+0.6WX

1 1.0 2 1.0 5 1.0 7 1.0 8 0.6

LOAD COMB 214 D+OP+TST+TS-0.6WX

1 1.0 2 1.0 5 1.0 7 1.0 9 0.6

*

LOAD COMB 215 D+OP+TST+TS+0.6WZ)

1 1.0 2 1.0 5 1.05 7 1.0 10 0.6

LOAD COMB 216 D+OP+TS+TST+TS-0.6WZ

1 1.0 2 1.0 5 1.0 7 1.0 11 0.6

*

***************************************************************

LOAD COMB 217 D+OP+0.75L+TST+TS+0.45WX

1 1.0 2 1.0 4 0.75 5 1.0 7 1.0 8 0.45

LOAD COMB 218 D+OP+0.75L+TST+TS-0.45WX

1 1.0 2 1.0 4 0.75 5 1.0 7 1.0 9 0.45

*

LOAD COMB 219 D+OP+0.75L+TST+TS+0.45WZ

1 1.0 2 1.0 4 0.75 5 1.0 7 1.0 10 0.45

LOAD COMB 220 D+OP+TS+0.75L+TST+TS-0.45WZ

1 1.0 2 1.0 4 0.75 5 1.0 7 1.0 11 0.45

*

***************************************************************

LOAD COMB 221 0.6(D+OP)+0.6(TST+TS)+0.6WX

1 0.6 2 0.6 5 0.6 7 0.6 8 0.6

LOAD COMB 222 0.6(D+OP)+0.6(TST+TS)-0.6WX

1 0.6 2 0.6 5 0.6 7 0.6 9 0.6

*

LOAD COMB 223 0.6(D+OP)+0.6(TST+TS)+0.6WZ

1 0.6 2 0.6 5 0.6 7 0.6 10 0.6

LOAD COMB 224 0.6(D+OP)+0.6(TST+TS)-0.6WZ

1 0.6 2 0.6 5 0.6 7 0.6 11 0.6

*

*********  COMBINACIONES PARA PRUEBA HIDROSTATICA  *********

LOAD COMB 225 D+F

1 1.0 3 1.0

LOAD COMB 226 D+F+0.50L

1 1.0 3 1.0 4 0.5

LOAD COMB 227 D+F+0.33(+WX)

1 1.0 3 1.0 8 0.33

LOAD COMB 228 D+F-0.33(+WX)

1 1.0 3 1.0 8 -0.33

LOAD COMB 229 D+F+0.33(-WX)

1 1.0 3 1.0 9 0.33

LOAD COMB 230 D+F-0.33(-WX)

1 1.0 3 1.0 9 -0.33

LOAD COMB 231 D+F+0.33(+WZ)

1 1.0 3 1.0 10 0.33

LOAD COMB 232 D+F-0.33(+WZ)

1 1.0 3 1.0 10 -0.33

LOAD COMB 233 D+F+0.33(-WZ)

1 1.0 3 1.0 11 0.33

LOAD COMB 234 D+F-0.33(-WZ)

1 1.0 3 1.0 11 -0.33

*

*

***************************************************************************************************

*********  COMBINACIONES CON CARGA SISMICA  *********

*

*** La fuerza sismica horizontal de acuerdo a ASCE 7-16  punto 12.4.2.1 es

*   Eh = RHO*Qe ;  RHO = 1.3

***************************************************************************************************

***************************************************************************************************

LOAD COMB 235 D+OP+0.70*RHO(EX+0.30EZ)+0.7EV

1 1.0 2 1.0 12 0.91 13 0.273 14 0.7

LOAD COMB 236 D+OP+0.70*RHO(EX-0.30EZ)+0.7EV

1 1.0 2 1.0 12 0.91 13 -0.273 14 0.7

LOAD COMB 237 D+OP+0.70*RHO(-EX+0.30EZ)+0.7EV

1 1.0 2 1.0 12 -0.91 13 0.273 14 0.7

LOAD COMB 238 D+OP+0.70*RHO(-EX-0.30EZ)+0.7EV

1 1.0 2 1.0 12 -0.91 13 -0.273 14 0.7

*

LOAD COMB 239 D+OP+0.70*RHO(EX+0.30EZ)-0.7EV

1 1.0 2 1.0 12 0.91 13 0.273 14 -0.7

LOAD COMB 240 D+OP+0.70*RHO(EX-0.30EZ)-0.7EV

1 1.0 2 1.0 12 0.91 13 -0.273 14 -0.7

LOAD COMB 241 D+OP+0.70*RHO(-EX+0.30EZ)-0.7EV

1 1.0 2 1.0 14 -0.91 13 0.273 14 -0.7

LOAD COMB 242 D+OP+0.70*RHO(-EX-0.30EZ)-0.7EV

1 1.0 2 1.0 12 -0.91 13 -0.273 14 -0.7

*

***************************************************************

LOAD COMB 243 D+OP+0.70*RHO(0.30EX+EZ)+0.7EV

1 1.0 2 1.0 12 0.273 13 0.91 14 0.7

LOAD COMB 244 D+OP+0.70*RHO(0.30EX-EZ)+0.7EV

1 1.0 2 1.0 12 0.273 13 -0.91 14 0.7

LOAD COMB 245 D+OP+0.70*RHO(-0.30EX+EZ)+0.7EV

1 1.0 2 1.0 12 -0.273 13 0.91 14 0.7

LOAD COMB 246 D+OP+0.70*RHO(-0.30EX-EZ)+0.7EV

1 1.0 2 1.0 12 -0.273 13 -0.91 14 0.7

*

LOAD COMB 247 D+OP+0.70*RHO(0.30EX+EZ)-0.7EV

1 1.0 2 1.0 12 0.273 13 0.91 14 -0.7

LOAD COMB 248 D+OP+0.70*RHO(0.30EX-EZ)-0.7EV

1 1.0 2 1.0 12 0.273 13 -0.91 14 -0.7

LOAD COMB 249 D+OP+0.70*RHO(-0.30EX+EZ)-0.7EV

1 1.0 2 1.0 12 -0.273 13 0.91 14 -0.7

LOAD COMB 250 D+OP+0.70*RHO(-0.30EX-EZ)-0.7EV

1 1.0 2 1.0 12 -0.273 13 -0.91 14 -0.7

*

********************************************************************************

*

LOAD COMB 251 D+OP+0.75L+0.525*RHO(EX+0.30EZ)+0.525EV

1 1.0 2 1.0 4 0.75 12 0.682 13 0.205 14 0.525

LOAD COMB 252 D+OP+0.75L+0.525*RHO(EX-0.30EZ)+0.525EV

1 1.0 2 1.0 4 0.75 12 0.682 13 -0.205 14 0.525

LOAD COMB 253 D+OP+0.75L+0.525*RHO(-EX+0.30EZ)+0.525EV

1 1.0 2 1.0 4 0.75 12 -0.682 13 0.205 14 0.525

LOAD COMB 254 D+OP+0.75L+0.525*RHO(-EX-0.30EZ)+0.525EV

1 1.0 2 1.0 4 0.75 12 -0.682 13 -0.205 14 0.525

*

LOAD COMB 255 D+OP+0.75L+0.525*RHO(EX+0.30EZ)-EV

1 1.0 2 1.0 4 0.75 12 0.682 13 0.205 14 -0.525

LOAD COMB 256 D+OP+0.75L+0.525*RHO(EX-0.30EZ)-0.525EV

1 1.0 2 1.0 4 0.75 12 0.682 13 -0.205 14 -0.525

LOAD COMB 257 D+OP+0.75L+0.525*RHO(-EX+0.30EZ)-0.525EV

1 1.0 2 1.0 4 0.75 12 -0.682 13 0.205 14 -0.525

LOAD COMB 258 D+OP+0.75L+0.525*RHO(-EX-0.30EZ)-0.525EV

1 1.0 2 1.0 4 0.75 12 -0.682 13 -0.205 14 -0.525

*

***************************************************************

LOAD COMB 259 D+OP+0.75L+0.525*RHO(0.30EX+EZ)+0.525EV

1 1.0 2 1.0 4 0.75 12 0.205 13 0.682 14 0.525

LOAD COMB 260 D+OP+0.75L+0.525*RHO(0.30EX-EZ)+0.525EV

1 1.0 2 1.0 4 0.75 12 0.205 13 -0.682 14 0.525

LOAD COMB 261 D+OP+0.75L+0.525*RHO(-0.30EX+EZ)+0.525EV

1 1.0 2 1.0 4 0.75 12 -0.205 13 0.682 14 0.525

LOAD COMB 262 D+OP+0.75L+0.525*RHO(-0.30EX-EZ)+0.525EV

1 1.0 2 1.0 4 0.75 12 -0.205 13 -0.682 14 0.525

*

LOAD COMB 263 D+OP+0.75L+0.525*RHO(0.30EX+EZ-0.525EV

1 1.0 2 1.0 4 0.75 12 0.205 13 0.682 14 -0.525

LOAD COMB 264 D+OP+0.75L+0.525*RHO(0.30EX-EZ)-0.525EV

1 1.0 2 1.0 4 0.75 12 0.205 13 -0.682 14 -0.525

LOAD COMB 265 D+OP+0.75L+0.525*RHO(-0.30EX+EZ)-0.525EV

1 1.0 2 1.0 4 0.75 12 -0.205 13 0.682 14 -0.525

LOAD COMB 266 D+OP+0.75L+0.525*RHO(-0.30EX-EZ)-0.525EV

1 1.0 2 1.0 4 0.75 12 -0.205 13 -0.682 14 -0.525

*

********************************************************************************

*

LOAD COMB 267 D+OP+TST+TS+0.525*RHO(EX+0.30EZ)+0.525EV

1 1.0 2 1.0 5 1.0 7 1.0 12 0.682 13 0.205 14 0.525

LOAD COMB 268 D+OP+TST+TS+0.525*RHO(EX-0.30EZ)+0.525EV

1 1.0 2 1.0 5 1.0 7 1.0 12 0.682 13 -0.205 14 0.525

LOAD COMB 269 D+OP+TST+TS+0.525*RHO(-EX+0.30EZ)+0.525EV)

1 1.0 2 1.0 5 1.0 7 1.0 12 -0.682 13 0.205 14 0.525

LOAD COMB 270 D+OP+TST+TS+0.525*RHO(-EX-0.30EZ)+0.525EV

1 1.0 2 1.0 5 1.0 7 1.0 12 -0.682 13 -0.205 14 0.525

*

LOAD COMB 271 D+OP+TST+TS+0.525*RHO(0.30EX+EZ)+0.525EV

1 1.0 2 1.0 5 1.0 7 1.0 12 0.205 13 0.682 14 0.525

LOAD COMB 272 D+OP+TST+TS+0.525*RHO(0.30EX-EZ)+0.525EV

1 1.0 2 1.0 5 1.0 7 1.0 12 0.205 13 -0.682 14 0.525

LOAD COMB 273 D+OP+TST+TS+0.525*RHO(-0.30EX+EZ)+0.525EV

1 1.0 2 1.0 5 1.0 7 1.0 12 -0.205 13 0.682 14 0.525

LOAD COMB 274 D+OP+TST+TS+0.525*RHO(-0.30EX-EZ)+0.525EV

1 1.0 2 1.0 5 1.0 7 1.0 12 -0.205 13 -0.682 14 0.525

*

***************************************************************

LOAD COMB 275 D+OP+TST+TS+0.525*RHO(EX+0.30EZ)-0.525EV

1 1.0 2 1.0 5 1.0 7 1.0 12 0.682 13 0.205 14 -0.525

LOAD COMB 276 D+OP+TST+TS+0.525*RHO(EX-0.30EZ)-0.525EV

1 1.0 2 1.0 5 1.0 7 1.0 12 0.682 13 -0.205 14 -0.525

LOAD COMB 277 D+OP+TST+TS+0.525*RHO(-EX+0.30EZ)-0.525EV

1 1.0 2 1.0 5 1.0 7 1.0 12 -0.682 13 0.205 14 -0.525

LOAD COMB 278 D+OP+TST+TS+0.525*RHO(-EX-0.30EZ)-0.525EV

1 1.0 2 1.0 5 1.0 7 1.0 12 -0.682 13 -0.205 14 -0.525

*

LOAD COMB 279 D+OP+TST+TS+0.52*RHO(0.30EX+EZ)-0.525EV

1 1.0 2 1.0 5 1.0 7 1.0 12 0.205 13 0.682 14 -0.525

LOAD COMB 280 D+OP+TST+TS+0.525*RHO(0.30EX-EZ)-0.525EV

1 1.0 2 1.0 5 1.0 7 1.0 12 0.205 13 -0.682 14 -0.525

LOAD COMB 281 D+OP+TST+TS+0.525+RHO(-0.30EX+EZ)-0.525EV

1 1.0 2 1.0 5 1.0 7 1.0 12 -0.205 13 0.682 14 -0.525

LOAD COMB 282 D+OP+TST+TS+0.525*RHO(-0.30EX-EZ)-0.525EV

1 1.0 2 1.0 5 1.0 7 1.0 12 -0.205 13 -0.682 14 -0.525

*

***************************************************************************************************

*

LOAD COMB 283 D+OP+0.75L+TST+TS+0.70*RHO(EX+0.30EZ)+0.7EV

1 1.0 2 1.0 4 0.75 5 1.0 7 1.0 12 0.91 13 0.273 14 0.7

LOAD COMB 284 D+OP+0.75L+TST+TS+0.70*RHO(EX-0.30EZ)+0.7EV

1 1.0 2 1.0 4 0.75 5 1.0 7 1.0 12 0.91 13 -0.273 14 0.7

LOAD COMB 285 D+OP+0.75L+TST+TS+0.70*RHO(-EX+0.30EZ)+0.7EV

1 1.0 2 1.0 4 0.75 5 1.0 7 1.0 12 -0.91 13 0.273 14 0.7

LOAD COMB 286 D+OP+0.75L+TST+TS+0.70*RHO(-EX-0.30EZ)+0.7EV

1 1.0 2 1.0 4 0.75 5 1.0 7 1.0 12 -0.91 13 -0.273 14 0.7

*

LOAD COMB 287 D+OP+0.75L+TST+TS+0.70*RHO(0.30EX+EZ)+0.7EV

1 1.0 2 1.0 4 0.75 5 1.0 7 1.0 12 0.273 13 0.91 14 0.7

LOAD COMB 288 D+OP+0.75L+TST+TS+0.70*RHO(0.30EX-EZ)+0.7EV

1 1.0 2 1.0 4 0.75 5 1.0 7 1.0 12 0.273 13 -0.91 14 0.7

LOAD COMB 289 D+OP+0.75L+TST+TS+0.70*RHO(-0.30EX+EZ)+0.7EV

1 1.0 2 1.0 4 0.75 5 1.0 7 1.0 12 -0.273 13 0.91 14 0.7

LOAD COMB 290 D+OP+0.75L+TST+TS+0.70*RHO(-0.30EX-EZ)+0.7EV

1 1.0 2 1.0 4 0.75 5 1.0 7 1.0 12 -0.273 13 -0.91 14 0.7

*

***************************************************************

LOAD COMB 291 D+OP+0.75L+TST+TS+0.70*RHO(EX+0.30EZ)-0.7EV

1 1.0 2 1.0 4 0.75 5 1.0 7 1.0 12 0.91 13 0.273 14 -0.7

LOAD COMB 292 D+OP+0.75L+TST+TS+0.70*RHO(EX-0.30EZ)-0.7EV

1 1.0 2 1.0 4 0.75 5 1.0 7 1.0 12 0.91 13 -0.273 14 -0.7

LOAD COMB 293 D+OP+0.75L+TST+TS+0.70*RHO(-EX+0.30E)Z-0.7EV

1 1.0 2 1.0 4 0.75 5 1.0 7 1.0 12 -0.91 13 0.273 14 -0.7

LOAD COMB 294 D+OP+0.75L+TST+TS+0.70*RHO(-EX-0.30EZ)-0.7EV

1 1.0 2 1.0 4 0.75 5 1.0 7 1.0 12 -0.91 13 -0.273 14 -0.7

*

LOAD COMB 295 D+OP+0.75L+TST+TS+0.70*RHO(0.30EX+EZ)-0.7EV

1 1.0 2 1.0 4 0.75 5 1.0 7 1.0 12 0.273 13 0.91 14 -0.7

LOAD COMB 296 D+OP+0.75L+TST+TS+0.70*RHO(0.30EX-EZ)-0.7EV

1 1.0 2 1.0 4 0.75 5 1.0 7 1.0 12 0.273 13 -0.91 14 -0.7

LOAD COMB 297 D+OP+0.75L+TST+TS+0.70*RHO(-0.30EX+EZ)-0.7EV

1 1.0 2 1.0 4 0.75 5 1.0 7 1.0 12 -0.273 13 0.91 14 -0.7

LOAD COMB 298 D+OP+0.75L+TST+TS+0.70*RHO(-0.30EX-EZ)-0.7EV

1 1.0 2 1.0 4 0.75 5 1.0 7 1.0 12 -0.273 13 -0.91 14 -0.7

*

***************************************************************************************************

*

LOAD COMB 299 0.60(D+OP)+0.6(TST+TS)+0.70*RHO(EX+0.30EZ)+0.7EV

1 0.6 2 0.6 5 0.6 7 0.6 12 0.91 13 0.273 14 0.7

LOAD COMB 300 0.60(D+OP)+0.6(TST+TS)+0.70*RHO(EX-0.30EZ)+0.7EV

1 0.6 2 0.6 5 0.6 7 0.6 12 0.91 13 -0.273 14 0.7

LOAD COMB 301 0.60(D+OP)+0.6(TST+TS)+0.70*RHO(-EX+0.30EZ)+0.7EV

1 0.6 2 0.6 5 0.6 7 0.6 12 -0.91 13 0.273 14 0.7

LOAD COMB 302 0.60(D+OP)+0.6(TST+TS)+0.70*RHO(-EX-0.30EZ)+0.7EV

1 0.6 2 0.6 5 0.6 7 0.6 12 -0.91 13 -0.273 14 0.7

*

LOAD COMB 303 0.60(D+OP)+0.6(TST+TS)+0.70*RHO(0.30EX+EZ)0.7+EV

1 0.6 2 0.6 5 0.6 7 0.6 12 0.273 13 0.91 14 0.7

LOAD COMB 304 0.60(D+OP)+0.6(TST+TS)+0.70*RHO(0.30EX-EZ)+0.7EV

1 0.6 2 0.6 5 0.6 7 0.6 12 0.273 13 -0.91 14 0.7

LOAD COMB 605 0.60(D+OP)+0.6(TST+TS)+0.70*RHO(-0.30EX+EZ)+0.7EV

1 0.6 2 0.6 5 0.6 7 0.6 12 -0.273 13 0.91 14 0.7

LOAD COMB 306 0.60(D+OP)+0.6(TST+TS)+0.70*RHO(-0.30EX-EZ)+0.7EV

1 0.6 2 0.6 5 0.6 7 0.6 12 -0.273 13 -0.91 14 0.7

*

***************************************************************

LOAD COMB 307 0.60(D+OP)+0.6(TST+TS)+0.70*RHO(EX+0.30EZ)-0.7EV

1 0.6 2 0.6 5 0.6 7 0.6 12 0.91 13 0.273 14 -0.7

LOAD COMB 308 0.60(D+OP)+0.6(TST+TS)+0.70*RHO(EX-0.30EZ)-0.7EV

1 0.6 2 0.6 5 0.6 7 0.6 12 0.91 13 -0.273 14 -0.7

LOAD COMB 309 0.60(D+OP)+0.6(TST+TS)+0.70*RHO(-EX+0.30EZ)-0.7EV

1 0.6 2 0.6 5 0.6 7 0.6 12 -0.91 13 0.273 14 -0.7

LOAD COMB 310 0.60(D+OP)+0.6(TST+TS)+0.70*RHO(-EX-0.30EZ)-0.7EV

1 0.6 2 0.6 5 0.6 7 0.6 12 -0.91 13 -0.273 14 -0.7

*

LOAD COMB 311 0.60(D+OP)+0.6(TST+TS)+0.70*RHO(0.30EX+EZ)-0.7EV

1 0.6 2 0.6 5 0.6 7 0.6 12 0.273 13 0.91 14 -0.7

LOAD COMB 312 0.60(D+OP)+0.6(TST+TS)+0.70*RHO(0.30EX-EZ)-0.7EV

1 0.6 2 0.6 5 0.6 7 0.6 12 0.273 13 -0.91 14 -0.7

LOAD COMB 313 0.60(D+OP)+0.6(TST+TS)+0.70*RHO(-0.30EX+EZ)-0.7EV

1 0.6 2 0.6 5 0.6 7 0.6 12 -0.273 13 0.91 14 -0.7

LOAD COMB 314 0.60(D+OP)+0.6(TST+TS)+0.70*RHO(-0.30EX-EZ)-0.7EV

1 0.6 2 0.6 5 0.6 7 0.6 12 -0.273 13 -0.91 14 -0.7

*

******************************************************************************

**  COMBINACIONES EN ESTADOS LIMITES ULTIMOS PARA EL DISE?O DE ESTRUCTURAS

**                          Y FUNDACIONES

*******************************************************************************

*

LOAD COMB 1201 1.4(D+OP)

1 1.4 2 1.4

LOAD COMB 1202 1.4(D+OP)+1.4(TST+TT+TS)

1 1.4 2 1.4 5 1.4 6 1.4 7 1.4

LOAD COMB 1203 1.2(D+OP)+1.6L

1 1.4 2 1.4 4 1.6

*

***************************************************************

LOAD COMB 1204 1.2(D+OP)+1.6L+1.2(TST+TT+TS)

1 1.2 2 1.2 4 1.6 5 1.2 6 1.2 7 1.2

LOAD COMB 1205 1.2(D+OP)+L+1.2(TST+TT+TS)

1 1.2 2 1.2 4 1.0 5 1.2 6 1.2 7 1.2

*

***************************************************************

LOAD COMB 1206 1.2(D+OP)+0.5WX

1 1.4 2 1.4 8 0.5

LOAD COMB 1207 1.2(D+OP)-0.5WX

1 1.4 2 1.4 9 0.5

LOAD COMB 1208 1.2(D+OP)+0.5WZ

1 1.4 2 1.4 10 0.5

LOAD COMB 1209 1.2(D+OP)-0.5WZ

1 1.4 2 1.4 11 0.5

*

***************************************************************

LOAD COMB 1210 1.2(D+OP)+L+WX

1 1.2 2 1.2 4 1.0 8 1.0

*

LOAD COMB 1211 1.2(D+OP)+L-WX

1 1.2 2 1.2 4 1.0 9 1.0

*

LOAD COMB 1212 1.2(D+OP)+L+WZ

1 1.2 2 1.2 4 1.0 10 1.0

*

LOAD COMB 1213 1.2(D+OP)+L-WZ

1 1.2 2 1.2 4 1.0 11 1.0

*

***************************************************************

LOAD COMB 1214 0.9(D+OP)+WX

1 0.9 2 0.9 8 1.0

LOAD COMB 1215 0.9(D+OP)-WX

1 0.9 2 0.9 9 1.0

LOAD COMB 1216 0.9(D+OP)+WZ

1 0.9 2 0.9 10 1.0

LOAD COMB 1217 0.9(D+OP)-WZ

1 0.9 2 0.9 11 1.0

*

***************************************************************

LOAD COMB 1218 1.2(D+OP)+1.2(TST+TS)+0.5WX

1 1.2 2 1.2 5 1.2 7 1.2 8 0.5

LOAD COMB 1219 1.2(D+OP)+1.2(TST+TS)-0.5WX

1 1.2 2 1.2 5 1.2 7 1.2 9 0.5

*

LOAD COMB 1220 1.2(D+OP)+1.2(TST+TS)+0.5WZ

1 1.2 2 1.2 5 1.2 7 1.2 10 0.5

LOAD COMB 1221 1.2(D+OP)+1.2(TST+TS)-0.5WZ

1 1.2 2 1.2 5 1.2 7 1.2 11 0.5

*

***************************************************************

LOAD COMB 1222 1.2(D+OP)+L+1.2(TST+TS)+WX

1 1.2 2 1.2 4 1.0 5 1.2 7 1.2 8 1.0

LOAD COMB 1223 1.2(D+OP)+L+1.2(TST+TS)-WX

1 1.2 2 1.2 4 1.0 5 1.2 7 1.2 9 1.0

*

LOAD COMB 1224 1.2(D+OP)+L+1.2(TST+TS)+WZ

1 1.2 2 1.2 4 1.0 5 1.2 7 1.2 10 1.0

LOAD COMB 1225 1.2(D+OP)+L+1.2(TST+TS)-WZ

1 1.2 2 1.2 4 1.0 5 1.2 7 1.2 11 1.0

*

***************************************************************

LOAD COMB 1226 0.9(D+OP)+TST+TS+WX

1 0.9 2 0.9 5 1.0 7 1.0 8 1.0

LOAD COMB 1227 0.9(D+OP)+TST+TS-WX

1 0.9 2 0.9 5 1.0 7 1.0 9 1.0

*

LOAD COMB 1228 0.9(D+OP)+TST+TS+WZ

1 0.9 2 0.9 5 1.0 7 1.0 10 1.0

LOAD COMB 1229 0.9(D+OP)+TST+TS-WZ

1 0.9 2 0.9 5 1.0 7 1.0 11 1.0

*

***************************************************************

*********  COMBINACIONES PARA PRUEBA HIDROSTATICA  *********

***************************************************************

LOAD COMB 1230 1.4(D+F)

1 1.4 3 1.4

LOAD COMB 1231 1.2(D+F)+0.50*1.6L

1 1.2 3 1.2 4 0.8

LOAD COMB 1232 1.2(D+F)+0.43(+WX)

1 1.2 3 1.2 8 0.43

LOAD COMB 1233 1.2(D+F)-0.43(+WX)

1 1.2 3 1.2 8 -0.43

LOAD COMB 1234 1.2(D+F)+0.43(-WX)

1 1.2 3 1.2 9 0.43

LOAD COMB 1235 1.2(D+F)-0.43(-WX)

1 1.2 3 1.2 9 -0.43

LOAD COMB 1236 1.2(D+F)+0.43(+WZ)

1 1.2 3 1.2 10 0.43

LOAD COMB 1237 1.2(D+F)-0.43(+WZ)

1 1.2 3 1.2 10 -0.43

LOAD COMB 1238 1.2(D+F)+0.43(-WZ)

1 1.2 3 1.2 11 0.43

LOAD COMB 1239 1.2(D+F)-0.43(-WZ)

1 1.2 3 1.2 11 -0.43

*

***************************************************************************************************

*********  COMBINACIONES CON CARGA SISMICA  *********

*

*** La fuerza sismica horizontal de acuerdo a ASCE 7-16  punto 12.4.2.1 es

*   Eh = RHO*Qe ;  RHO = 1.3

***************************************************************************************************

***************************************************************************************************

*

LOAD COMB 1240 1.2(D+OP)+L+RHO(EX+0.30EZ)+EV

1 1.2 2 1.2 4 1.0 12 1.3 13 0.39 14 1.0

LOAD COMB 1241 1.2(D+OP)+L+RHO(EX-0.30EZ)+EV

1 1.2 2 1.2 4 1.0 12 1.3 13 -0.39 14 1.0

LOAD COMB 1242 1.2(D+OP)+L+RHO(-EX+0.30EZ)+EV

1 1.2 2 1.2 4 1.0 12 -1.3 13 0.39 14 1.0

LOAD COMB 1243 1.2(D+OP)+L+RHO(-EX-0.30EZ)+EV

1 1.2 2 1.2 4 1.0 12 -1.3 13 -0.39 14 1.0

*

LOAD COMB 1244 1.2(D+OP)+L+RHO(EX+0.30EZ)-EV

1 1.2 2 1.2 4 1.0 12 1.3 13 0.39 14 -1.0

LOAD COMB 1245 1.2(D+OP)+L+RHO(EX-0.30EZ)-EV

1 1.2 2 1.2 4 1.0 12 1.3 13 -0.39 14 -1.0

LOAD COMB 1246 1.2(D+OP)+L+RHO(-EX+0.30EZ)-EV

1 1.2 2 1.2 4 1.0 12 -1.3 13 0.39 14 -1.0

LOAD COMB 1247 1.2(D+OP)+L+RHO(-EX-0.30EZ)-EV

1 1.2 2 1.2 4 1.0 12 -1.3 13 -0.39 14 -1.0

*

***************************************************************

LOAD COMB 1248 1.2(D+OP)+L+RHO(0.30EX+EZ)+EV

1 1.2 2 1.2 4 1.0 12 0.39 13 1.3 14 1.0

LOAD COMB 1249 1.2(D+OP)+L+RHO(0.30EX-EZ)+EV

1 1.2 2 1.2 4 1.0 12 0.39 13 -1.3 14 1.0

LOAD COMB 1250 1.2(D+OP)+L+RHO(-0.30EX+EZ)+EV

1 1.2 2 1.2 4 1.0 12 -0.39 13 1.3 14 1.0

LOAD COMB 1251 1.2(D+OP)+L+RHO(-0.30EX-EZ)+EV

1 1.2 2 1.2 4 1.0 12 -0.39 13 -1.3 14 1.0

*

LOAD COMB 1252 1.2(D+OP)+L+RHO(0.30EX+EZ)-EV

1 1.2 2 1.2 4 1.0 12 0.39 13 1.3 14 -1.0

LOAD COMB 1253 1.2(D+OP)+L+RHO(0.30EX-EZ)-EV

1 1.2 2 1.2 4 1.0 12 0.39 13 -1.3 14 -1.0

LOAD COMB 1254 1.2(D+OP)+L+RHO(-0.30EX+EZ)-EV

1 1.2 2 1.2 4 1.0 12 -0.39 13 1.3 14 -1.0

LOAD COMB 1255 1.2(D+OP)+L+RHO(-0.30EX-EZ)-EV

1 1.2 2 1.2 4 1.0 12 -0.39 13 -1.3 14 -1.0

*

***************************************************************************************************

*

LOAD COMB 1256 1.2(D+OP)+L+1.2(TST+TS)+RHO(EX+0.30EZ)+EV

1 1.2 2 1.2 4 1.0 5 1.2 7 1.2 12 1.3 13 0.39 14 1.0

LOAD COMB 1257 1.2(D+OP)+L+1.2(TST+TS)+RHO(EX-0.30EZ)+EV

1 1.2 2 1.2 4 1.0 5 1.2 7 1.2 12 1.3 13 -0.39 14 1.0

LOAD COMB 1258 1.2(D+OP)+L+1.2(TST+TS)+RHO(-EX+0.30EZ)+EV

1 1.2 2 1.2 4 1.0 5 1.2 7 1.2 12 -1.3 13 0.39 14 1.0

LOAD COMB 1259 1.2(D+OP)+L+1.2(TST+TS)+RHO(-EX-0.30EZ)+EV

1 1.2 2 1.2 4 1.0 5 1.2 7 1.2 12 -1.3 13 -0.39 14 1.0

*

LOAD COMB 1260 1.2(D+OP)+L+1.2(TST+TS)+RHO(EX+0.30EZ)-EV

1 1.2 2 1.2 4 1.0 5 1.2 7 1.2 12 1.3 13 0.39 14 -1.0

LOAD COMB 1261 1.2(D+OP)+L+1.2(TST+TS)+RHO(EX-0.30EZ)-EV

1 1.2 2 1.2 4 1.0 5 1.2 7 1.2 12 1.3 13 -0.39 14 -1.0

LOAD COMB 1262 1.2(D+OP)+L+1.2(TST+TS)+RHO(-EX+0.30EZ)-EV

1 1.2 2 1.2 4 1.0 5 1.2 7 1.2 12 -1.3 13 0.39 14 -1.0

LOAD COMB 1263 1.2(D+OP)+L+1.2(TST+TS)+RHO(-EX-0.30EZ)-EV

1 1.2 2 1.2 4 1.0 5 1.2 7 1.2 12 -1.3 13 -0.39 14 -1.0

*

***************************************************************

LOAD COMB 1264 1.2(D+OP)+L+1.2(TST+TS)+RHO(0.30EX+EZ)+EV

1 1.2 2 1.2 4 1.0 5 1.2 7 1.2 12 0.39 13 1.3 14 1.0

LOAD COMB 1265 1.2(D+OP)+L+1.2(TST+TS)+RHO(0.30EX-EZ)+EV

1 1.2 2 1.2 4 1.0 5 1.2 7 1.2 12 0.39 13 -1.3 14 1.0

LOAD COMB 1266 1.2(D+OP)+L+1.2(TST+TS)+RHO(-0.30EX+EZ)+EV

1 1.2 2 1.2 4 1.0 5 1.2 7 1.2 12 -0.39 13 1.3 14 1.0

LOAD COMB 1267 1.2(D+OP)+L+1.2(TST+TS)+RHO(-0.30EX-EZ)+EV

1 1.2 2 1.2 4 1.0 5 1.2 7 1.2 12 -0.39 13 -1.3 14 1.0

*

LOAD COMB 1268 1.2(D+OP)+L+1.2(TST+TS)+RHO(0.30EX+EZ)-EV

1 1.2 2 1.2 4 1.0 5 1.2 7 1.2 12 0.39 13 1.3 14 -1.0

LOAD COMB 1269 1.2(D+OP)+L+1.2(TST+TS)+RHO(0.30EX-EZ)-EV

1 1.2 2 1.2 4 1.0 5 1.2 7 1.2 12 0.39 13 -1.3 14 -1.0

LOAD COMB 1270 1.2(D+OP)+L+1.2(TST+TS)+RHO(-0.30EX+EZ)-EV

1 1.2 2 1.2 4 1.0 5 1.2 7 1.2 12 -0.39 13 1.3 14 -1.0

LOAD COMB 1271 1.2(D+OP)+L+1.2(TST+TS)+RHO(-0.30EX-EZ)-EV

1 1.2 2 1.2 4 1.0 5 1.2 7 1.2 12 -0.39 13 -1.3 14 -1.0

*

***************************************************************************************************

*

LOAD COMB 1272 0.9(D+OP)+RHO(EX+0.30EZ)+EV

1 0.9 2 0.9 12 1.3 13 0.39 14 1.0

LOAD COMB 1273 0.9(D+OP)+RHO(EX-0.30EZ)+EV

1 0.9 2 0.9 12 1.3 13 -0.39 14 1.0

LOAD COMB 1274 0.9(D+OP)+RHO(-EX+0.30EZ)+EV

1 0.9 2 0.9 12 -1.3 13 0.39 14 1.0

LOAD COMB 1275 0.9(D+OP)+RHO(-EX-0.30EZ)+EV

1 0.9 2 0.9 12 -1.3 13 -0.39 14 1.0

*

LOAD COMB 1276 0.9(D+OP)+RHO(EX+0.30EZ)-EV

1 0.9 2 0.9 12 1.3 13 0.39 14 -1.0

LOAD COMB 1277 0.9(D+OP)+RHO(EX-0.30EZ)-EV

1 0.9 2 0.9 12 1.3 13 -0.39 14 -1.0

LOAD COMB 1278 0.9(D+OP)+RHO(-EX+0.30EZ)-EV

1 0.9 2 0.9 12 -1.3 13 0.39 14 -1.0

LOAD COMB 1279 0.9(D+OP)+RHO(-EX-0.30EZ)-EV

1 0.9 2 0.9 12 -1.3 13 -0.39 14 -1.0

*

***************************************************************

LOAD COMB 1280 0.9(D+OP)+RHO(0.30EX+EZ)+EV

1 0.9 2 0.9 12 0.39 13 1.3 14 1.0

LOAD COMB 1281 0.9(D+OP)+RHO(0.30EX-EZ)+EV

1 0.9 2 0.9 12 0.39 13 -1.3 14 1.0

LOAD COMB 1282 0.9(D+OP)+RHO(-0.30EX+EZ)+EV

1 0.9 2 0.9 12 -0.39 13 1.3 14 1.0

LOAD COMB 1283 0.9(D+OP)+RHO(-0.30EX-EZ)+EV

1 0.9 2 0.9 12 -0.39 13 -1.3 14 1.0

*

LOAD COMB 1284 0.9(D+OP)+RHO(0.30EX+EZ)-EV

1 0.9 2 0.9 12 0.39 13 1.3 14 -1.0

LOAD COMB 1285 0.9(D+OP)+RHO(0.30EX-EZ)-EV

1 0.9 2 0.9 12 0.39 13 -1.3 14 -1.0

LOAD COMB 1286 0.9(D+OP)+RHO(-0.30EX+EZ)-EV

1 0.9 2 0.9 12 -0.39 13 1.3 14 -1.0

LOAD COMB 1287 0.9(D+OP)+RHO(-0.30EX-EZ)-EV

1 0.9 2 0.9 12 -0.39 13 -1.3 14 -1.0

*

***************************************************************************************************

*

LOAD COMB 1288 0.9(D+OP)+TST+TS+RHO(EX+0.30EZ)+EV

1 0.9 2 0.9 5 1.0 7 1.0 12 1.3 13 0.39 14 1.0

LOAD COMB 1289 0.9(D+OP)+TST+TS+RHO(EX-0.30EZ)+EV

1 0.9 2 0.9 5 1.0 7 1.0 12 1.3 13 -0.39 14 1.0

LOAD COMB 1290 0.9(D+OP)+TST+TS+RHO(-EX+0.30EZ)+EV

1 0.9 2 0.9 5 1.0 7 1.0 12 -1.3 13 0.39 14 1.0

LOAD COMB 1291 0.9(D+OP)+TST+TS+RHO(-EX-0.30EZ)+EV

1 0.9 2 0.9 5 1.0 7 1.0 12 -1.3 13 -0.39 14 1.0

*

LOAD COMB 1292 0.9(D+OP)+TST+TS+RHO(EX+0.30EZ)-EV

1 0.9 2 0.9 5 1.0 7 1.0 12 1.3 13 0.39 14 -1.0

LOAD COMB 1293 0.9(D+OP)+TST+TS+RHO(EX-0.30EZ)-EV

1 0.9 2 0.9 5 1.0 7 1.0 12 1.3 13 -0.39 14 -1.0

LOAD COMB 1294 0.9(D+OP)+TST+TS+RHO(-EX+0.30EZ)-EV

1 0.9 2 0.9 5 1.0 7 1.0 12 -1.3 13 0.39 14 -1.0

LOAD COMB 1295 0.9(D+OP)+TST+TS+RHO(-EX-0.30EZ)-EV

1 0.9 2 0.9 5 1.0 7 1.0 12 -1.3 13 -0.39 14 -1.0

*

***************************************************************

LOAD COMB 1296 0.9(D+OP)+TST+TS+RHO(0.30EX+EZ)+EV

1 0.9 2 0.9 5 1.0 7 1.0 12 0.39 13 1.3 14 1.0

LOAD COMB 1297 0.9(D+OP)+TST+TS+RHO(0.30EX-EZ)+EV

1 0.9 2 0.9 5 1.0 7 1.0 12 0.39 13 -1.3 14 1.0

LOAD COMB 1298 0.9(D+OP)+TST+TS+RHO(-0.30EX+EZ)+EV

1 0.9 2 0.9 5 1.0 7 1.0 12 -0.39 13 1.3 14 1.0

LOAD COMB 1299 0.9(D+OP)+TST+TS+RHO(-0.30EX-EZ)+EV

1 0.9 2 0.9 5 1.0 7 1.0 12 -0.39 13 -1.3 14 1.0

*

LOAD COMB 1300 0.9(D+OP)+TST+TS+RHO(0.30EX+EZ)-EV

1 0.9 2 0.9 5 1.0 7 1.0 12 0.39 13 1.3 14 -1.0

LOAD COMB 1301 0.9(D+OP)+TST+TS+RHO(0.30EX-EZ)-EV

1 0.9 2 0.9 5 1.0 7 1.0 12 0.39 13 -1.3 14 -1.0

LOAD COMB 1302 0.9(D+OP)+TST+TS+RHO(-0.30EX+EZ)-EV

1 0.9 2 0.9 5 1.0 7 1.0 12 -0.39 13 1.3 14 -1.0

LOAD COMB 1303 0.9(D+OP)+TST+TS+RHO(-0.30EX-EZ)-EV

1 0.9 2 0.9 5 1.0 7 1.0 12 -0.39 13 -1.3 14 -1.0

**

*******************************************************************************

****  COMBINACIONES DE CARGA PARA VERIFICAR DESPLAZAMIENTOS POR VIENTO  *******

*******************************************************************************

**

LOAD COMB 1401 D+OP+TST+TS+0.5L+0.70*0.6WX

1 1.0 2 1.0 4 0.5 5 1.0 7 1.0 8 0.42

LOAD COMB 1402 D+OP+TST+TS+0.5L-0.70*0.6WX

1 1.0 2 1.0 4 0.5 5 1.0 7 1.0 9 0.42

LOAD COMB 1403 D+OP+TST+TS+0.5L+0.70*0.6WZ

1 1.0 2 1.0 4 0.5 5 1.0 7 1.0 10 0.42

LOAD COMB 1404 D+OP+TST+TS+0.5L-0.70*0.6WZ

1 1.0 2 1.0 4 0.5 5 1.0 7 1.0 11 0.42

**

**

**

********************************************************************************

*****COMBINACIONES PARA VERIFICACION DE DESPLAZAMIENTOS BAJO CARGAS SISMICAS  **

***

*******************************************************************************

*** Los valores de Cd dependen del sistema estructural (tabla 15.4-1 ASCE 7),

**  por lo que es necesario calcular el siguiente factor para cada direccion

**    Factor = Cd / I         **

*******************************************************************************

**

**** CDx= 2.5; I= 1.20 ; Factor= 2.5 / 1.20 = 2.083

**

LOAD COMB 1501 D+OP+TST+TS+0.5L+ (CDX/I)(EX+0.30EZ+EV)

1 1.0 2 1.0 4 0.5 5 1.0 7 1.0 12 2.083 13 0.625 14 2.083

LOAD COMB 1502 D+OP+TST+TS+0.5L+ (CDX/I)(EX-0.30EZ+EV)

1 1.0 2 1.0 4 0.5 5 1.0 7 1.0 12 2.083 13 -0.625 14 2.083

LOAD COMB 1503 D+OP+TST+TS+0.5L+ (CDX/I)(-EX+0.30EZ+EV)

1 1.0 2 1.0 4 0.5 5 1.0 7 1.0 12 -2.083 13 0.625 14 2.083

LOAD COMB 1504 D+OP+TST+TS+0.5L+ (CDX/I)(-EX-0.30EZ+EV)

1 1.0 2 1.0 4 0.5 5 1.0 7 1.0 12 -2.083 13 -0.625 14 2.083

**

LOAD COMB 1505 D+OP+TST+TS+0.5L+ (CDX/I)(EX+0.30EZ-EV)

1 1.0 2 1.0 4 0.5 5 1.0 7 1.0 12 2.083 13 0.625 14 -2.083

LOAD COMB 1506 D+OP+TST+TS+0.5L+ (CDX/I)(EX-0.30EZ-EV)

1 1.0 2 1.0 4 0.5 5 1.0 7 1.0 12 2.083 13 -0.625 14 -2.083

LOAD COMB 1507 D+OP+TST+TS+0.5L+ (CDX/I)(-EX+0.30EZ-EV)

1 1.0 2 1.0 4 0.5 5 1.0 7 1.0 12 -2.083 13 0.625 14 -2.083

LOAD COMB 1508 D+OP+TST+TS+0.5L+ (CDX/I)(-EX-0.30EZ-EV)

1 1.0 2 1.0 4 0.5 5 1.0 7 1.0 12 -2.083 13 -0.625 14 -2.083

**

****************************************************************

**** CDz= 2.5; I= 1.2 ; Factor= 2.5 / 1.20 = 2.08

****************************************************************

**

LOAD COMB 1509 D+OP+TST+TS+0.5L+ (CDZ/I)(0.30EX+EZ+EV)

1 1.0 2 1.0 4 0.5 5 1.0 7 1.0 12 0.625 13 2.083 14 2.083

LOAD COMB 1510 D+OP+TST+TS+0.5L+ (CDZ/I)(0.30EX-EZ+EV)

1 1.0 2 1.0 4 0.5 5 1.0 7 1.0 12 0.625 13 -2.083 14 2.083

LOAD COMB 1511 D+OP+TST+TS+0.5L+ (CDZ/I)(-0.30EX+EZ+EV)

1 1.0 2 1.0 4 0.5 5 1.0 7 1.0 12 -0.625 13 2.083 14 2.083

LOAD COMB 1512 D+OP+TST+TS+0.5L+ (CDZ/I)(-0.30EX-EZ+EV)

1 1.0 2 1.0 4 0.5 5 1.0 7 1.0 12 -0.625 13 -2.083 14 2.083

**

LOAD COMB 1513 D+OP+TST+TS+0.5L+ (CDZ/I)(0.30EX+EZ-EV)

1 1.0 2 1.0 4 0.5 5 1.0 7 1.0 12 0.625 13 2.083 14 -2.083

LOAD COMB 1514 D+OP+TST+TS+0.5L+ (CDZ/I)(0.30EX-EZ-EV)

1 1.0 2 1.0 4 0.5 5 1.0 7 1.0 12 0.625 13 -2.083 -14 -2.083

LOAD COMB 1515 D+OP+TST+TS+0.5L+ (CDZ/I)(-0.30EX+EZ-EV)

1 1.0 2 1.0 4 0.5 5 1.0 7 1.0 12 -0.625 13 2.083 14 -2.083

LOAD COMB 1516 D+OP+TST+TS+0.5L+ (CDZ/I)(-0.30EX-EZ-EV)

1 1.0 2 1.0 4 0.5 5 1.0 7 1.0 12 -0.625 13 -2.083 14 -2.083

**

*******************************************************************************

****   COMBINACIONES DE CARGA PARA EL DISENO DE CONEXIONES, PLACAS BASE Y

**     PERNOS DE ANCLAJE  ****

*******************************************************************************

****   Factor de Sobreresistencia en direccion X:  OmegaX = 2

**                   (Tabla 15.4-1 ASCE 7-16)    ***

*******************************************************************************

**

LOAD COMB 1601 1.2(D+OP)+L+OMEGAX*(EX+0.30EZ)+EV

1 1.2 2 1.2 4 1.0 12 2.0 13 0.6 14 1.0

LOAD COMB 1602 1.2(D+OP)+L+OMEGAX*(EX-0.30EZ)+EV

1 1.2 2 1.2 4 1.0 12 2.0 13 -0.6 14 1.0

LOAD COMB 1603 1.2(D+OP)+L+OMEGAX*(-EX+0.30EZ)+EV

1 1.2 2 1.2 4 1.0 12 -2.0 13 0.6 14 1.0

LOAD COMB 1604 1.2(D+OP)+L+OMEGAX*(-EX-0.30EZ)+EV

1 1.2 2 1.2 4 1.0 12 -2.0 13 -0.6 14 1.0

**

LOAD COMB 1605 1.2(D+OP)+L+OMEGAX*(EX+0.30EZ)-EV

1 1.2 2 1.2 4 1.0 12 2.0 13 0.6 14 -1.0

LOAD COMB 1606 1.2(D+OP)+L+OMEGAX*(EX-0.30EZ)-EV

1 1.2 2 1.2 4 1.0 12 2.0 13 -0.6 14 -1.0

LOAD COMB 1607 1.2(D+OP)+L+OMEGAX*(-EX+0.30EZ)-EV

1 1.2 2 1.2 4 1.0 12 -2.0 13 0.6 14 -1.0

LOAD COMB 1608 1.2(D+OP)+L+OMEGAX*(-EX-0.30EZ)-EV

1 1.2 2 1.2 4 1.0 12 -2.0 13 -0.6 14 -1.0

**

****************************************************************

LOAD COMB 1609 0.9(D+OP)+OMEGAX*(EX+0.30EZ)+EV

1 0.9 2 0.9 12 2.0 13 0.6 14 1.0

LOAD COMB 1610 0.9(D+OP)+OMEGAX*(EX-0.30EZ)+EV

1 0.9 2 0.9 12 2.0 13 -0.6 14 1.0

LOAD COMB 1611 0.9(D+OP)+OMEGAX*(-EX+0.30EZ)+EV

1 0.9 2 0.9 12 -2.0 13 0.6 14 1.0

LOAD COMB 1612 0.9(D+OP)+OMEGAX*(-EX-0.30EZ)+EV

1 0.9 2 0.9 12 -2.0 13 -0.6 14 1.0

**

LOAD COMB 1613 0.9(D+OP)+OMEGAX*(EX+0.30EZ)-EV

1 0.9 2 0.9 12 2.0 13 0.6 14 -1.0

LOAD COMB 1614 0.9(D+OP)+OMEGAX*(EX-0.30EZ)-EV

1 0.9 2 0.9 12 2.0 13 -0.6 14 -1.0

LOAD COMB 1615 0.9(D+OP)+OMEGAX*(-EX+0.30EZ)-EV

1 0.9 2 0.9 12 -2.0 13 0.6 14 -1.0

LOAD COMB 1616 0.9(D+OP)+OMEGAX*(-EX-0.30EZ)-EV

1 0.9 2 0.9 12 -2.0 13 -0.6 14 -1.0

**

****************************************************************************************************

**

LOAD COMB 1617 1.2(D+OP)+L+1.2(TST+TS)+OMEGAX*(EX+0.30EZ)+EV

1 1.2 2 1.2 4 1.0 5 1.2 7 1.2 12 2.0 13 0.6 14 1.0

LOAD COMB 1618 1.2(D+OP)+L+1.2(TST+TS)+OMEGAX*(EX-0.30EZ)+EV

1 1.2 2 1.2 4 1.0 5 1.2 7 1.2 12 2.0 13 -0.6 14 1.0

LOAD COMB 1619 1.2(D+OP)+L+1.2(TST+TS)+OMEGAX*(-EX+0.30EZ)+EV

1 1.2 2 1.2 4 1.0 5 1.2 7 1.2 12 -2.0 13 0.6 14 1.0

LOAD COMB 1620 1.2(D+OP)+L+1.2(TST+TS)+OMEGAX*(-EX-0.30EZ)+EV

1 1.2 2 1.2 4 1.0 5 1.2 7 1.2 12 -2.0 13 -0.6 14 1.0

**

LOAD COMB 1621 1.2(D+OP)+L+1.2(TST+TS)+OMEGAX*(EX+0.30EZ)-EV

1 1.2 2 1.2 4 1.0 5 1.2 7 1.2 12 2.0 13 0.6 14 -1.0

LOAD COMB 1622 1.2(D+OP)+L+1.2(TST+TS)+OMEGAX*(EX-0.30EZ)-EV

1 1.2 2 1.2 4 1.0 5 1.2 7 1.2 12 2.0 13 -0.6 14 -1.0

LOAD COMB 1623 1.2(D+OP)+L+1.2(TST+TS)+OMEGAX*(-EX+0.30EZ)-EV

1 1.2 2 1.2 4 1.0 5 1.2 7 1.2 12 -2.0 13 0.6 14 -1.0

LOAD COMB 1624 1.2(D+OP)+L+1.2(TST+TS)+OMEGAX*(-EX-0.30EZ)-EV

1 1.2 2 1.2 4 1.0 5 1.2 7 1.2 12 -2.0 13 -0.6 14 -1.0

**

****************************************************************

LOAD COMB 1625 0.9(D+OP)+1.2(TST+TS)+OMEGAX*(EX+0.30EZ)+EV

1 0.9 2 0.9 5 1.2 7 1.2 12 2.0 13 0.6 14 1.0

LOAD COMB 1626 0.9(D+OP)+1.2(TST+TS)+OMEGAX*(EX-0.30EZ)+EV

1 0.9 2 0.9 5 1.2 7 1.2 12 2.0 13 -0.6 14 1.0

LOAD COMB 1627 0.9(D+OP)+1.2(TST+TS)+OMEGAX*(-EX+0.30EZ)+EV

1 0.9 2 0.9 5 1.2 7 1.2 12 -2.0 13 0.6 14 1.0

LOAD COMB 1628 0.9(D+OP)+1.2(TST+TS)+OMEGAX*(-EX-0.30EZ)+EV

1 0.9 2 0.9 5 1.2 7 1.2 12 -2.0 13 -0.6 14 1.0

**

LOAD COMB 1629 0.9(D+OP)+1.2(TST+TS)+OMEGAX*(EX+0.30EZ)-EV

1 0.9 2 0.9 5 1.2 7 1.2 12 2.0 13 0.6 14 -1.0

LOAD COMB 1630 0.9(D+OP)+1.2(TST+TS)+OMEGAX*(EX-0.30EZ)-EV

1 0.9 2 0.9 5 1.2 7 1.2 12 2.0 13 -0.6 14 -1.0

LOAD COMB 1631 0.9(D+OP)+1.2(TST+TS)+OMEGAX*(EX+0.30EZ)-EV

1 0.9 2 0.9 5 1.2 7 1.2 12 -2.0 13 0.6 14 -1.0

LOAD COMB 1632 0.9(D+OP)+1.2(TST+TS)+OMEGAX*(EX-0.30EZ)-EV

1 0.9 2 0.9 5 1.2 7 1.2 12 -2.0 13 -0.6 14 -1.0

**

*******************************************************************************

****   COMBINACIONES DE CARGA PARA EL DISENO DE CONEXIONES, PLACAS BASE Y

**                 PERNOS DE ANCLAJE  ****

*******************************************************************************

****   Factor de Sobreresistencia en direccion Z:  OmegaZ = 2

**                   (Tabla 15.4-1 ASCE 7-16)    ***

*******************************************************************************

LOAD COMB 1633 1.2(D+OP)+L+OMEGAZ*(0.30EX+EZ)+EV

1 1.2 2 1.2 4 1.0 12 0.6 13 2.0 14 1.0

LOAD COMB 1634 1.2(D+OP)+L+OMEGAZ*(0.30EX-EZ)+EV

1 1.2 2 1.2 4 1.0 12 0.6 13 -2.0 14 1.0

LOAD COMB 1635 1.2(D+OP)+L+OMEGAZ*(-0.30EX+EZ)+EV

1 1.2 2 1.2 4 1.0 12 -0.6 13 2.0 14 1.0

LOAD COMB 1636 1.2(D+OP)+L+OMEGAZ*(-0.30EX-EZ)+EV

1 1.2 2 1.2 4 1.0 12 -0.6 13 -2.0 14 1.0

**

LOAD COMB 1637 1.2(D+OP)+L+OMEGAZ*(0.30EX+EZ)-EV

1 1.2 2 1.2 4 1.0 12 0.6 13 2.0 14 -1.0

LOAD COMB 1638 1.2(D+OP)+L+OMEGAZ*(0.30EX-EZ)-EV

1 1.2 2 1.2 4 1.0 12 0.6 13 -2.0 14 -1.0

LOAD COMB 1639 1.2(D+OP)+L+OMEGAZ*(-0.30EX+EZ)-EV

1 1.2 2 1.2 4 1.0 12 -0.6 13 2.0 14 -1.0

LOAD COMB 1640 1.2(D+OP)+L+OMEGAZ*(-0.30EX-EZ)-EV

1 1.2 2 1.2 4 1.0 12 -0.6 13 -2.0 14 -1.0

**

****************************************************************

LOAD COMB 1641 0.9(D+OP)+OMEGAZ*(0.30EX+EZ)+EV

1 0.9 2 0.9 12 0.6 13 2.0 14 1.0

LOAD COMB 1642 0.9(D+OP)+OMEGAZ*(0.30EX-EZ)+EV

1 0.9 2 0.9 12 0.6 13 -2.0 14 1.0

LOAD COMB 1643 0.9(D+OP)+OMEGAZ*(-0.30EX+EZ)+EV

1 0.9 2 0.9 12 -0.6 13 2.0 14 1.0

LOAD COMB 1644 0.9(D+OP)+OMEGAZ*(-0.30EX-EZ)+EV

1 0.9 2 0.9 12 -0.6 13 -2.0 14 1.0

**

LOAD COMB 1645 0.9(D+OP)+OMEGAZ*(0.30EX+EZ)-EV

1 0.9 2 0.9 12 0.6 13 2.0 14 -1.0

LOAD COMB 1646 0.9(D+OP)+OMEGAZ*(0.30EX-EZ)-EV

1 0.9 2 0.9 12 0.6 13 -2.0 14 -1.0

LOAD COMB 1647 0.9(D+OP)+OMEGAZ*(-0.30EX+EZ)-EV

1 0.9 2 0.9 12 -0.6 13 2.0 14 -1.0

LOAD COMB 1648 0.9(D+OP)+OMEGAZ*(-0.30EX-EZ)-EV

1 0.9 2 0.9 12 -0.6 13 -2.0 14 -1.0

**

****************************************************************************************************

**

LOAD COMB 1649 1.2(D+OP)+L+1.2(TST+TS)+OMEGAZ*(0.30EX+EZ)+EV

1 1.2 2 1.2 4 1.0 5 1.2 7 1.2 12 0.6 13 2.0 14 1.0

LOAD COMB 1650 1.2(D+OP)+L+1.2(TST+TS)+OMEGAZ*(0.30EX-EZ)+EV

1 1.2 2 1.2 4 1.0 5 1.2 7 1.2 12 0.6 13 -2.0 14 1.0

LOAD COMB 1651 1.2(D+OP)+L+1.2(TST+TS)+OMEGAZ*(-0.30EX+EZ)+EV

1 1.2 2 1.2 4 1.0 5 1.2 7 1.2 12 -0.6 13 2.0 14 1.0

LOAD COMB 1652 1.2(D+OP)+L+1.2(TST+TS)+OMEGAZ*(-0.30EX-EZ)+EV

1 1.2 2 1.2 4 1.0 5 1.2 7 1.2 12 -0.6 13 -2.0 14 1.0

**

LOAD COMB 1653 1.2(D+OP)+L+1.2(TST+TS)+OMEGAZ*(0.30EX+EZ)-EV

1 1.2 2 1.2 4 1.0 5 1.2 7 1.2 12 0.6 13 2.0 14 -1.0

LOAD COMB 1654 1.2(D+OP)+L+1.2(TST+TS)+OMEGAZ*(0.30EX-EZ)-EV

1 1.2 2 1.2 4 1.0 5 1.2 7 1.2 12 0.6 13 -2.0 14 -1.0

LOAD COMB 1655 1.2(D+OP)+L+1.2(TST+TS)+OMEGAZ*(-0.30EX+EZ)-EV

1 1.2 2 1.2 4 1.0 5 1.2 7 1.2 12 -0.6 13 2.0 14 -1.0

LOAD COMB 1656 1.2(D+OP)+L+1.2(TST+TS)+OMEGAZ*(-0.30EX-EZ)-EV

1 1.2 2 1.2 4 1.0 5 1.2 7 1.2 12 -0.6 13 -2.0 14 -1.0

**

****************************************************************

LOAD COMB 1657 0.9(D+OP)+1.2(TST+TS)+OMEGAZ*(0.30EX+EZ)+EV

1 0.9 2 0.9 5 1.2 7 1.2 12 0.6 13 2.0 14 1.0

LOAD COMB 1658 0.9(D+OP)+1.2(TST+TS)+OMEGAZ*(0.30EX-EZ)+EV

1 0.9 2 0.9 5 1.2 7 1.2 12 0.6 13 -2.0 14 1.0

LOAD COMB 1659 0.9(D+OP)+1.2(TST+TS)+OMEGAZ*(0.30EX+EZ)+EV

1 0.9 2 0.9 5 1.2 7 1.2 12 -0.6 13 2.0 14 1.0

LOAD COMB 1660 0.9(D+OP)+1.2(TST+TS)+OMEGAZ*(0.30EX-EZ)+EV

1 0.9 2 0.9 5 1.2 7 1.2 12 -0.6 13 -2.0 14 1.0

**

LOAD COMB 1661 0.9(D+OP)+1.2(TST+TS)+OMEGAZ*(0.30EX+EZ)-EV

1 0.9 2 0.9 5 1.2 7 1.2 12 0.6 13 2.0 14 -1.0

LOAD COMB 1662 0.9(D+OP)+1.2(TST+TS)+OMEGAZ*(0.30EX-EZ)-EV

1 0.9 2 0.9 5 1.2 7 1.2 12 0.6 13 -2.0 14 -1.0

LOAD COMB 1663 0.9(D+OP)+1.2(TST+TS)+OMEGAZ*(0.30EX+EZ)-EV

1 0.9 2 0.9 5 1.2 7 1.2 12 -0.6 13 2.0 14 -1.0

LOAD COMB 1664 0.9(D+OP)+1.2(TST+TS)+OMEGAZ*(0.30EX-EZ)-EV

1 0.9 2 0.9 5 1.2 7 1.2 12 -0.6 13 -2.0 14 -1.0

****************************************************************

PERFORM ANALYSIS PRINT ALL

DEFINE ENVELOPE

200 TO 204 ENVELOPE 1 TYPE SERVICEABILITY

1201 TO 1303 ENVELOPE 2 TYPE STRENGTH

1601 TO 1664 ENVELOPE 3 TYPE CONNECTION

1401 TO 1404 ENVELOPE 4 TYPE SERVICEABILITY

1501 TO 1516 ENVELOPE 5 TYPE SERVICEABILITY

END DEFINE ENVELOPE

LOAD LIST 1201 TO 1303

PARAMETER 1

CODE AISC UNIFIED 2016

METHOD LRFD

TRACK 0 MEMB 15 17 TO 24 26 TO 29 31 33 37 TO 42 101 TO 105 116 121 122 163 -

164 166 167 170 TO 176 180 181 183 185 213 246 TO 266 269 TO 359 363 TO 374 -

380 381 389

KY 0.677099 MEMB 320

KY 0.689392 MEMB 247

KY 0.695031 MEMB 27 180

KY 0.696978 MEMB 324 326 336

KY 0.699597 MEMB 339 345

KY 0.714405 MEMB 166 183 262

KY 0.746999 MEMB 122

KY 0.759914 MEMB 291

KY 0.79931 MEMB 343

KY 1 MEMB 164 173 174

KZ 0.669558 MEMB 164 173 174

KZ 0.724619 MEMB 27 180

KZ 0.78233 MEMB 320

KZ 0.788068 MEMB 324 326 336 339 345

KZ 0.788605 MEMB 247

KZ 0.807751 MEMB 291 343

KZ 0.83213 MEMB 122

KZ 1 MEMB 166 183 262

LY 3.70001 MEMB 27 122 164 166 173 174 180 183 247 262 291 320 324 326 336 -

339 343 345

LZ 3.70001 MEMB 27 122 164 166 173 174 180 183 247 262 291 320 324 326 336 -

339 343 345

STEEL MEMBER TAKE OFF LIST ALL

STEEL TAKE OFF LIST ALL

CHECK CODE ALL

FINISH